## Slide 1: College of medicine Almustansiriyah University
Department of Surgery
ENT Unit
ENT - Ear Instruments
Dr Haider Alsarhan

## Slide 2: ENT – Ear instruments
Ear speculum
Visualization of the external ear canal and tympanic membrane when possible

## Slide 3: ENT – Ear instruments
Ear speculum
Visualization of the external ear canal and tympanic membrane when possible

## Slide 4: ENT – Ear instruments
Ear speculum with slit
To perform surgical procedures
Like Myrengotomy

## Slide 5: ENT – Ear instruments
Auroscope
Detailed visualization of the tympanic membrane

## Slide 6: ENT – Ear instruments
Rigid otoscope
Detailed visualization of the tympanic membrane
Recording photos and videos for documentation when attached to digital camera

## Slide 7: ENT – Ear instruments
Siegle Pneumatic Aural speculum
Magnification
Differentiation between retraction and perforation
Identify fistula sign
Suction
Induction of powder material

## Slide 8: ENT – Ear instruments
Jobson Horne Probe
Serrated end
Dry mopping
Wet mopping
Ring end
Removal of hard wax
Removal of foreign body
Note : it has another uses in the nose

## Slide 9: ENT – Ear instruments
Ear Hook
Removal of hard wax
Removal of foreign body

## Slide 10: ENT – Ear instruments
Crocodile
Removal of hard wax
Removal of foreign body

## Slide 11: ENT – Ear instruments
Ear Syringe
Removal of soft wax
Removal of foreign body

## Slide 12: ENT – Ear instruments
Suctioendn
Removal of soft wax
Removal of foreign body