## Slide 1: Estimation of Hb
Introduction and principle
Hb composed from haem (iron + protoporphyrin) and globin protein. By adding HCl, Hb is converted into colored acid hematine (Sahli method) and the intensity of the color is measured by comparing it with the standard. This could be done visually or spectrophotometrically.
Concentration of Hb is measured either as a percentage of normal or, better in absolute figure (gm/dl)

## Slide 2: Normal value
Male : 13.5 - 17.5 gm /dl
Female : 11.5 - 15.5 gm /dl

## Slide 3: Materials and method
Sahli Haemometer consists of
1-Color standard
2-Pipette marked to contain 20 microliter of blood.
3-Graduated tube
Distilled water (D.W.)
0.1 normal HCl
Anticoagulated whole blood or capillary blood can be used

## Slide 4: Procedure
1-Draw blood by hemoglobin pipette to mark 20 Ml
2-Dip the tip of the pipette in the graduated tube to blow the blood into the tube, mix content with stirrer.
3- Place the tube in the hemoglobinometer for 10 minutes for complete reaction.
4-Add D.W. drop by drop until the color in the graduated tube is identical to the color of the standard.
5-Read the result in gm/dl.

## Slide 5: Medical considerations:
Increased Hb: polycythemia
Decreased Hb: anemia
Severity of anemia (in female) according to hemoglobin concentration:
Mild : 9 – 11.5 ;
Moderate : 6 – 9 gm /dl ;
Severe: < 6 gm/dl

## Slide 6: Hb the major function of it is
Carrying oxygen from the lungs to peripheral tissues.
Transport carbon dioxide from peripheral tissues to the lungs.
Buffer against change in [H+]
So in cases of anemia, decreased Hb will compromise its functions leading to the symptoms of anemia which varies among individuals according to severity, rapidity of developing anemia, age, and presence of other medical problems:
Feeling of tiredness
Breathlessness
Palpitation
Angina (chest pain)
Headache
Dizzy spells

## Slide 7: Hemoglobin and High Altitudes (secondary polycythemia)
High altitude → low O2 tension → stimulate secretion of erythropoietin hormone by kidney → increased RBC production by bone marrow → high PCV → more oxygen to be carried by the same volume of blood
High altitude → doubled nitric oxide levels → blood vessel dilatation → boost the
uptake of oxygen.
Increased oriduction of 2,3 BPG in RBCs → incrased Hb binding to O2 → increased unloading of oxygen to systemic circulation.
Cellular changes (increased mitochondria).
Low atmospheric oxygen (low PaO2) → hperventilation → low PaCO2.
Increase renal excretion of HCO3 to compensate for the respiratory alkalosis.
Low PaO2 for long period → pulmonary vasoconstriction → core pulmonale (right ventricular hypertrophy – RVH).

## Slide 8: Types of anemia according to cause:
Iron deficiency anemia (commonest) due blood loss (menstruation) or inadequate intake (dietary deficiency or malabsorption).
Megaloblastic anemia: deficiency of vitamin B12 or folate or both, alcohol, liver disease, pernicious anemia.
Anemia of chronic disease (tumors, connective tissue disease, chronic infections, tuberculosis, malignancy).
Bone marrow depression (aplastic anemia).

## Slide 9
Hemolytic anemia includes:
  Congenital
  Hereditary spherocytosis (HS): deficiency of spectrin (red cell membrane protein) leading to abnormal RBC shape (spherical instead of biconcave) leading to their destruction in spleen & more susceptibility to osmotic lysis.
  Glucose 6 Phosphate dehydrogenase (G6PD) deficiency (Favism from ingestion of broad beans).

## Slide 10
  Hemoglobinopathies (defected Hb structure):
Sickle cell anemia (HbS): replacement of amino acid valine by glytamic acid at position No. 6 in sequence of globin polypeptide chains of hemoglobin.
Thalassaemia: inherited impaired hemoglobin production, in which there is partial or complete failure to synthesize a specific type of globin chain (alpha thalasemia or beta thalsemia).
  Acquired hemolytic anemia: autoimmune hemolytic anemia, hemolytic disease of newborn (HDN), ABO incompatibility, Rhesus (Rh) incompatibility, effect of drugs (methyldopa).