## Slide 1
1. UV-Vis. Spectroscopy Fundamentals of Spectrophotometer
Assay of tetracycline by calibration curve method
2. UV-Vis. Spectroscopy
Spectrophotometric determination of Aspirin in tablets By standard addition method
3. IR Spectroscopy
Fundamentals of Infrared Spectroscopy Sold and liquid
4. IR Spectroscopy
Application of IR Spectroscopy in the Analysis of Pharmaceutical Substances
5. Electrochemical Analysis
Titration of the ascorbic acid (vitamin C) in tablets By pH meter
used first and 2nd derivatives
6. Determination of Mixtures by UV-Vis.
Multi-Component Analysis Mixture by UV-Vis. Spectroscopy
7. Determination of Mixtures by UV-Vis. Spectroscopy
Determination of Caffeine and Acetylsalicylic Acid in an Analgesic Tablet
8. UV-Vis. Spectroscopy Calibration
9. Determination of metal ion by UV-Vis. Spectroscopy
Spectrophotometric Determination of Iron in a Vitamin Tablet
10. Flame Photometer
Determination of Na & K in Tablet
Practical
advance pharmaceutical analysis

## Slide 2
Principles of molecular spectroscopy
Electromagnetic radiation
= distance of one wave
= frequency: waves per unit time (sec-1, Hz)
c = speed of light (3.0 x 108 m • sec-1)
h = Plank’s constant (6.63 x 10-34 J • sec)
Electromagnetic radiation has the properties of a particle (photon) and a wave.

## Slide 3
Quantum: the energy of a photon
E = h 
c =  n
E = h c/
 (cm)
short
high
high
Wavelength ()
Frequency ()
Energy (E)
long
low
low
E   E     

## Slide 4
Principles of molecular spectroscopy
Quantized Energy Levels
molecules have discrete energy levels (no continuum between levels)
A molecule absorbs electromagnetic radiation when
the energy of photon corresponds to the difference in energy between two states

## Slide 5
UV-Vis: valance electron transitions
- gives information about p-bonds and conjugated systems in organic compounds
Infrared: molecular vibrations (stretches, bends)
- identify functional groups
Radio waves: nuclear spin in a magnetic field (NMR)
- gives a map of the H and C framework
organic
molecule
(ground state)
light
h
organic
molecule
(excited state)
organic
molecule
(ground state)
+ h
relaxation

## Slide 6
Wavelength, nm | Color | Complementary color
400-430 | Violet | Yellow-green
430-480 | Blue | Yellow
480-490 | Green-blue | Orange
490-500 | Blue-green | Red
500-550 | Green | Purple
550-575 | Yellow-green | Violet
575-590 | Yellow | Blue
590-625 | Orange | Green-blue
630-700 | Red | Blue-green
Table: Correlation between wavelength, color, and complementary color
Calibration
a process that relates the measured analytical signal to the concentration of analyte
(the substance to be analyzed).
Spectrophotometer:
It is a technique that uses the absorbance of light by an analyte at a certain
wavelength to determine the analyte concentration (or transmittance of light).

## Slide 7
When we see an object as purple, in fact it absorbs light in the “green”
region of the spectrum: only blue and red wavelengths reach the eye
Solution absorbs red appears blue-green
Solution absorbs blue-green appears red
Beer’s law
A = E l C
A absorbance of compound
ε is called the “Molar Absorptivity” absorption factor of the compound, it is a function of wavelength specific for each molecule, with the path-length (l) normally given in cm
C in Molarity units, mol/L
ε has the units L.mol−1cm−1, if alternatively C is in mol/L then ε will have the units cm2mol−1
A= - log T , T% = T x 100
T = ( I/I0)
Intensity of light

## Slide 8
The absorption spectrum
A graph between absorbance of the analyte versus the change in the wavelength.
from absorption spectrum we find the wavelength with the highest absorbance,
the wavelength of the absorption peak (λmax),
at this wavelength the spectrophotometric method is most sensitive for the analyte.
The blank solution
Solution contains all of the components of the original sample except for the analyte.
max = 562 nm
(ferrozine)3Fe(II) complex

## Slide 9
From calibration curve, can be used to find the concentration of an unknown.
The calibration curve
A graph between absorbance versus analyte concentration in standard solutions,
at the wavelength of the absorption peak (λmax).

## Slide 10
Type of Soln. | Vol. of stock Soln. (mL) | Vol. of (0.1%) FeCl3 Soln. (mL) | Vol. of (0.01N) HCl Soln. (mL) | Concentration (mg/L) | Absorbance (A)
Blank | 0 | 5 | 5 |  | 
No.1 | 1 | 5 | 4 |  | 
No. 2 | 2 | 5 | 3 |  | 
No. 3 | 3 | 5 | 2 |  | 
No. 4 | 4 | 5 | 1 |  | 
Unknown 5mL | 0 | 5 | 0 |  | 
Assay of tetracycline by calibration curve method

## Slide 11
Tetracycline (TC)

## Slide 12
Measuring the absorption spectrum and determining λmax
This part of the experiment each pair of students should record all absorbance at each wavelength and draw the absorption spectrum.
Rinse one of the cuvettes with blank solution, put the cuvette in the sample compartment, this is the reference solution, set the wavelength to 350 nm, then set the Absorbance to zero.
Rinse a second cuvette standard solution No.4, place the cell in the sample compartment, measure the Absorbance at 350 nm and record in your notebook.
Repeat this procedure (steps 1 and 2 above) for the two cuvettes at wavelengths 360,370, 380, 390, 400, 420, --.600 nm, first setting A = 0 for the cuvette with blank, then measuring A for the cuvette with solution No.4, recording the absorbance at each wavelength, record in data table (at absorbance begin larger reduce wavelength intervals to 5nm).
Prepare a graph of absorbance (A) vs. wavelength (λ) and determine λmax (maximum wavelength). Attach this graph to the lab report, (Plotting Use the program Excel to plot the absorption spectrum and determining λmax).

## Slide 13
The calibration curve
This part of the experiment must be done by each pair of students separately.
Set the wavelength at (λmax), place the cuvette with blank in the cell compartment and again set the Absorbance to zero.
Measure and record the Absorbance of each of the four standard solutions & unknown, starting with the most dilute standard, after each measurement, rinse the cuvette with the next standard, not with blank!
Draw a plot having X-axis as concentration (mg/L) and Y-axis as Absorbance at λmax (Plotting Use the program Excel to plot the calibration curve).
Use Beer’s law to calculate ε for TC, given the cell width (path length l) to be 1 cm.
Use calibration curve to calculate concentration of unknown solution.
Find application for calibration curve equation, to calculate concentration of unknown solution?

## Slide 14
Spectrophotometric determination of Aspirin in tablets
By standard addition method
For good analysis the sample must have these properties:
(1) Stability in solution.
(2) Adherence to Beer's law.
(3) Large molar absorptive ().
(4) Sufficient separation of the desired analyte absorbance wavelength from interfering substances.
If Not, the substance is usually converted into a new species suitable for quantitative spectroscopy.
SAMPLE + CHROMOGENIC REAGENT → UV-VIS ABSORBING PRODUCT
Direct calibration curve method can be applied for analyzing unknown sample only and only if the standard solutions and the unknown solution are prepared and measured under exactly the same conditions
matrix effects everything except the analyte, contributes significantly to the absorbance of a sample and is also highly variable.
The method that can be used to improve results is the method of standard additions, the basic idea is to add standard to the analyte sample so that the standard is subjected to the same matrix effects as the analyte.

## Slide 15
Aspirin sample
Accurately record the weight of a group of ten aspirin tablets so that you can determine an average tablet weight, use a mortar and pestle to crush enough tablets to produce an average (g) tablet powder, using a clean dry weighing bottle (beaker or conical flask), add 20 mL of ethanol (measure by graduated cylinder), swirl gently to dissolve. (Aspirin is not very soluble in water, ethanol helps the aspirin dissolve).
Note that an aspirin tablet contains other compounds in addition to aspirin, some of these are not very soluble, and the solution will be cloudy due to insoluble components of the tablet.
Add 75mL of NaOH (0.1N) than heat in a water bath to speed up the hydrolysis reaction, avoid boiling, because the sample may decompose, while heating, swirl the beaker occasionally, after 15 minutes, remove sample from the water bath and cool for 5 minutes, than filtered the solution.

## Slide 17
Preparing the stock solution and standard solutions:
Stock solution of sodium salicylate:
Weight a 0.3 g of sodium salicylate in beaker, dissolve the solid by the addition of D.W., than transfer to volumetric flask (1L), and continue adding D.W. to the mark on the volumetric flask.
Ferric Nitrate:
Dissolve 1.0 g ferric nitrate in 99 mL of water to make a 1% solution of ferric nitrate, (Total volume =100 mL of 1% ferric nitrate),(use2g of Fe2(SO4)3 in 200 mL)
Nitric Acid 1:
Prepare 100 mL of 0.07 M nitric acid, ( 2.5mL of HNO3 WT.%=65, D=1.4Kg/L, in 500 mL)
Standard solution:
Transfer 5.00 mL of stock solution to a volumetric flask (25mL), than dilute with D.W. to mark (Its concentration is …… mg/L).
Dilute Ferric Nitrate: Mix 5 mL of 1% ferric nitrate with 4 mL of 0.07 M HNO3 (nitric acid 1) and label the container “dilute ferric nitrate.”
Unknown solution: Transfer 5.00 mL of Aspirin sample solution to a volumetric flask (10mL), than dilute with D.W.

## Slide 18
Procedure for spectrophotometer instrument in the visible range
1. Turn on the instrument and allow it to warm up for about 10 min.
2. Set the wavelength to max nm.?
3. Depress the “mode” control key and set the mode to “Absorbance.”
4. Fill seven volumetric flask (5.0mL) with varying amounts of solution and adjust the volumes of each to 5.0 mL by D.W. as shown in Table 1 below ( only blank in 10mL volumetric flask)
Sample | Standard (…..mg/L) | Dilute Ferric Nitrate | Unknown | Absorbance | Concentration mg/L
Blank | 0.0 | 1.0 | 0.0 | 0.0 | 0.0
# 1 | 0.0 | 1.0 | 1.0 |  | 0.0
# 2 | 0.2 | 1.0 | 1.0 |  | 
# 3 | 0.4 | 1.0 | 1.0 |  | 
# 4 | 0.6 | 1.0 | 1.0 |  | 
# 5 | 0.8 | 1.0 | 1.0 |  | 
# 6 | 1.0 | 1.0 | 1.0 |  | 

## Slide 19
5. Set the wavelength to 400 nm, zero absorbance will be determined with the blank solution cuvette, Replace the blank cuvette with the sample and determine absorbance for solution, Repeat this procedure (420, 440 --.600 nm) (at absorbance begin larger reduce wavelength intervals to 5nm), determine λmax.
6. Replace the blank cuvette with each of the numbered samples and determine absorbance for each solution, carefully record the A vs concentration at λmax.
7. Draw a plot having X-axis as concentration (mg/L) and Y-axis as Absorbance at λmax (Plotting Use the program Excel to plot the calibration curve).
Use Beer’s law to calculate ε for sodium salicylate, given the cell width (path length l cm), Use the curve to calculate concentration of unknown solution.