## Slide 1: Serological tests
Assist.Prof.Dr. Baydaa H.Abdullah

## Slide 2: Anti-streptolysin O
Anti-streptolysin O (ASO or ASLO) is the antibody made against streptolysin O, an immunogenic, oxygen-labile streptococcal hemolytic exotoxin produced by most strains of group A and many strains of groups C and G Streptococcus bacteria.
The "O" in the name stands for oxygen-labile; the other related toxin being oxygen-stable streptolysin-S. The main function of streptolysin O is to cause hemolysis (the breaking open of red blood cells) — in particular, beta-hemolysis.

## Slide 3
Increased levels of aso titre in the blood could cause damage to the heart and joints. In most cases, penicillin is used to treat patients with increased levels of aso titre.
The ASOT helps direct antimicrobial treatment and is used to assist in the diagnosis of scarlet fever, rheumatic fever, and post infectious glomerulonephritis.
A positive test usually is >200 units/mL, but normal ranges vary from laboratory to laboratory and by age
The false negatives rate is 20-30%. If a false negative is suspected, then an anti-DNase B titre should be sought. False positives can result from liver disease and tuberculosis

## Slide 4: Clinical significance
When the body is infected with streptococci, it produces antibodies against the various antigens that the streptococci produce. ASO is one such antibody. A raised or rising levels can indicate past or present infection. Historically it was one of the first bacterial markers used for diagnosis and follow up of rheumatic fever or scarlet fever. Its importance in this regard has not diminished.
Since these antibodies are produced as a delayed antibody reaction to the above-mentioned bacteria, there is no normal value. The presence of these antibodies indicates an exposure to these bacteria. However, as many people are exposed to these bacteria and remain asymptomatic, the mere presence of ASO does not indicate disease.

## Slide 5
Acceptable values, where there is no clinical suspicion of rheumatism are as follows:
-Adults: less than 200 units
-Children: less than 400 units
This titre has a significance only if it is greatly elevated (>200), or if a rise in titre can be demonstrated in paired blood samples taken days apart. The antibody levels begin to rise after 1 to 3 weeks of strep infection, peaks in 3 to 5 weeks and falls back to insignificant levels in 6 months. Values need to be correlated with a clinical diagnosis

## Slide 6: Estimation
It is done by serological methods like latex agglutination or slide agglutination. ELISA may be performed to detect the exact titre value.
To detect the titre value, by a non-ELISA method, one has to perform the above agglutination using a serial dilution technique.
Mechanism of action
These antibodies produced against the bacteria cross-react with human antigens (mainly collagen) and hence attack the cellular matrix of various organs, mainly the heart, joints, skin, brain, etc.

## Slide 8: ASO Latex test
When the latex reagent is mixed with a serum containing ASO, agglutination occurs. The sensitivity of the latex reagent has been adjusted to yield agglutination when the level of ASO is greater than 200 IU/ml, a level determined to be indicative of disease by epidemiological and clinical studies

## Slide 9
Sample Collection and Handling: Only fresh serum specimens should be used. Plasma must not be used since fibrinogen may cause non-specific agglutination of the latex. It is preferable to test samples on the same day as collected. Serum samples may be stored at 2-8o C for up to 48 hours prior to testing. If longer storage is necessary, sera should be stored frozen at -20ºC.
Materials used in the ASO Test
1-ASO Antigen: A stabilized buffered suspension of polystyrene latex particles coated with Streptolysin O and 0.1% sodium azide as preservative. Shake well prior to use.
2-ASO Positive Control: Human serum containing more than 200 IU/ml ASO and 0.1% sodium azide as preservative.
3-ASO Negative Control: Human serum containing 0.1% sodium azide as preservative.
4-Sufficient disposable pipettes.
5-Glass test slide.

## Slide 10: Procedure for Antistreptolysin O Test:
1-Bring all test reagents and samples to room temperature.
2-Use a disposable pipette to draw up and place one free-falling drop of each undiluted sample into its identified circle of the slide. Retain each pipette for mixing in step 5.
3-Deliver one free-falling drop of positive and negative control into its identified circle.
4-Mix the ASO latex reagent by gently shaking. Add one free-falling drop of reagent to each control and sample.
5-Using the flattened end of the appropriate plastic pipette as a stirrer (step 2), thoroughly mix each sample with reagent within the full area of the circle.
6-Discard the disposable pipette.
7-Slowly rock the slide for exactly two (2) minutes and observe for agglutination under a high intensity light.
8-Record results.
9-Re-wash glass slide for future use
Test Result: A test sample is considered to contain ASO antibodies in excess of 200 IU/ml when agglutination (clumping) is observed when compared to the result of the negative control.

## Slide 11: Rheumatoid factor (RF)
is the autoantibody (antibody directed against an organism's own tissues) that was first found in rheumatoid arthritis. It is defined as an antibody against the Fc portion of IgG (an antibody against an antibody) and different RFs can recognize different parts of the IgG-Fc. RF and IgG join to form immune complexes that contribute to the disease process.
Although predominantly encountered as IgM, rheumatoid factor can be of any isotype of immunoglobulins, i.e. IgA, IgG, IgM, IgE, IgD.

## Slide 12: Testing
RF is often evaluated in patients suspected of having any form of arthritis even though positive results can be due to other causes, and negative results do not rule out disease. But, in combination with signs and symptoms, it can play a role in both diagnosis and disease prognosis. It is part of the usual disease criteria of rheumatoid arthritis.
The presence of rheumatoid factor in serum can also indicate the occurrence of suspected autoimmune activity unrelated to rheumatoid arthritis, such as that associated with tissue or organ rejection. In such instances, RF may serve as one of several serological markers for autoimmunity. The sensitivity of RF for established rheumatoid arthritis is only 60-70% with a specificity of 78%.
Many patients with rheumatoid disease are seronegative to begin with but seroconvertion (becoming positive) occurs in 80% of them

## Slide 13: Interpretation
High levels of rheumatoid factor (in general, above 20 IU/mL, 1:40, or over the 95th percentile; there is some variation among labs) occur in rheumatoid arthritis (present in 80%) and Sjögren's syndrome (present in 70%). The higher the level of RF the greater the probability of destructive articular disease.[It is also found in Epstein-Barr virus or Parvovirus infection and in 5-10% of healthy persons, especially the elderly.
There is an association between rheumatoid factor and more persistently active synovitis, more joint damage, greater eventual disability and Arthritis.
Other than in rheumatoid arthritis, rheumatoid factor may also be elevated in:
Systemic lupus erythematosus (SLE),Sjögren's syndrome,Interstitial pulmonary fibrosis, Hepatitis B, Chronic liver disease and chronic hepatitis, Essential mixed cryoglobulinemia, Primary biliary cirrhosis, Infectious mononucleosis and any chronic viral infection, Bacterial endocarditis, Leprosy, Sarcoidosis, Tuberculosis, Syphilis, Visceral leishmaniasis, Malaria, Leukemia, Dermatomyositis, Systemic sclerosis, After vaccination/transfusion in normal individuals

## Slide 14: Widal test
A Widal Test slide showing agglutinations in reactions of corresponding O and H antigens
The Widal test, developed in 1896 and named after Georges-Fernand Widal, who introduced it, is a presumptive serological test for enteric fever or undulant fever whereby bacteria causing typhoid fever are mixed with a serum containing specific antibodies obtained from an infected individual.
Test results need to be interpreted carefully to account for any history of enteric fever, typhoid vaccination, and the general level of antibodies in the populations in endemic areas of the world.
As with all serological tests, the rise in antibody levels needed to perform the diagnosis takes 7–14 days, which limits its applicability in early diagnosis. Other means of diagnosing Salmonella typhi (and paratyphi) include cultures of blood, urine and faeces. These organisms produce H2S from thiosulfate and can be identified easily on differential media such as bismuth sulfite agar

## Slide 15: Widal test kit
(killed colored suspension of S. enterica serotype Typhi O antigen, S. enterica serotype Typhi H antigen and S. enterica serotype Paratyphi AH antigen and S. enterica serotype Paratyphi BH antigen).
The Widal test is positive if TO antigen titer is more than 1:160 in an active infection, or if TH antigen titer is more than 1:160 in past infection or in immunized persons.
A single Widal test is of little clinical relevance due to the high number of cross-reacting infections, including malaria. If no other tests (either bacteriologic culture or more specific serology) are available, a fourfold increase in the titer (e.g., from 1:40 to 1:640) in the course of the infection, or a conversion from an IgM reaction to an IgG reaction of at least the same titer, would be consistent with a typhoid infection

## Slide 16: Serological response with Widal agglutinins
-The earliest serological response in acute typhoid fever is a rise in the titre of the O antibody, with an elevation of the H- antibody titre developing more slowly but persisting longer than that of the O- antibody cutoff titre . Usually, O antibodies appear on days 6-8 and H antibodies on days 10-12 after the onset of the disease. The O antibody concentrations fall about 6 months after previous exposure to typhoid . Patients from communities where typhoid is endemic have higher H-antibody titres than do those not previously exposed to the antigens.
-Some authors have reported that the level of H agglutinins is unhelpful in the diagnosis of typhoid, mentioning that the H-agglutinin titre remains elevated for a longer period than the O-agglutinin titre after an episode of typhoid fever and also may rise as a nonspecific response to other infections. Some of the studies found O titre to be of greater diagnostic significance

## Slide 17: Rose Bengal plate test (RBT) for Brucella
Four types of Brucella bacteria cause the majority of brucellosis infections in humans:
B. melitensis . This type causes most cases of human brucellosis and is mainly found in sheep and goats. It is most often seen in :Middle East,Spain,Greece,Latin America, India
B. suis . This infection found in wild pigs is the most common type of Brucella seen in the U.S. Brucellosis due to this strain most often occurs in the Southeast and California. It also occurs in Europe, South America, and Southeast Asia.
B. canis. The infection from this type of bacteria spreads from dogs. It is most often seen in: North, Central, and South America, Japan, Central Europe
B. abortus . This infection comes from cattle. It occurs worldwide. It has been wiped out in several European countries, Japan, Canada, Australia, and New Zealand.

## Slide 18
The Rose Bengal test (RBT) is a simple, rapid slide-type agglutination assay performed with a stained B. abortus suspension at pH 3.6–3.7 and plain serum.
Although the overall sensitivity reported for RBT varies widely, with the use of good quality antigens made by experienced or reference laboratories, the sensitivity of RBT can increased.

## Slide 19: Procedure of Rose Bengal Plate Test
:
1-Test Serum (0.03 ml) is mixed with an equal volume of antigen on a white tile or enamel plate to produce a zone approximately 2 cm in diameter.
2-The mixture is agitated gently for four minutes at ambient temperature, and then observed for agglutination.
3-Any visible reaction is considered to be positive

## Slide 20: Limitation of Rose Bengal Test:
1-Low sensitivity particularly in long evolution (chronic) cases, and relatively low specificity in endemic areas.
2-Moreover, some authors consider that prozones make strongly positive sera appear as negative in RBT.
The test is very sensitive and positive samples should be checked by the Complement fixation test (CFT) or by an IgG specific procedure such as ELISA. The RBT can be used in all animal species but positive results should be confirmed by a quantitative test.

## Slide 21: Prozone
is an agglutination or precipitation reaction, the zone of relatively high antibody concentrations within which no reactionoccurs. As the antibody concentration is lowered below the prozone, the reaction occurs. This phenomenon may be duesimply to antibody excess or it may be due to blocking antibody or to nonspecific inhibitors in serum

## Slide 22: Human chorionic gonadotropin (hCG)
is a glycoprotein hormone secreted by the developing placenta. In a normal pregnancy, hCG can be detected as early as seven days following conception. At the time of the first missed menstrual period, hCG concentration is about 100 mIU/ml, reaching peak levels at the end of the first trimester. HCG is an excellent marker for early detection of pregnancy.

## Slide 23
Latex Slidecheck is a rapid latex agglutination pregnancy test detecting hCG at levels 0.3 IU/ml and higher.
The test utilizes monoclonal antibodies raised against hCG.
The test is based upon the rapid agglutination of antibody coated latex particles.
HCG molecules present in the urine specimen form complexes with the antibody coated latex particles and visible agglutination results

## Slide 24
Pregnancy test
HCG (human chorionic gonadotrophin) is a hormone secreted in pregnancy that is made by the developing embryo soon after conception and later by the syncytiotrophoblast (part of the placenta) to maintain the fetal viability preventing the disintegration of the corpus luteum of the ovary and thereby maintaining progesterone production that is critical for a pregnancy in humans; it also affects the immune tolerance of the pregnancy.
HCG is excreted in the urine of pregnant women. Detection of this hormone in urine or serum is an easy first method of diagnosis of pregnancy. The hormone can be detected as early as the sixth day after conception. hCG is also an important tumor marker because it is produced by some kinds of tumor, such as: seminoma, choriocarcinoma, germ cell tumors, hydatidiform mole formation, teratoma with elements of choriocarcinoma, and islet cell tumor

## Slide 25: COMPONENTS OF THE TEST
1-Latex Reagent-Anti-hCG monoclonal antibody-coated latex particle suspension containing sodium azide, in a vial with a glass dropper.
2-Positive Control-HCG in a buffered protein solution, with sodium azide as preservative, in a dropper vial.
3-Dropper/Stirrers (100 pcs).
4-Glass slide (re-usable, one per kit).

## Slide 26: COLLECTION OF SPECIMENS
Collect the urine sample in a clean, dry container, either plastic or glass, without preservatives. Specimens may be collected at any time; however the first morning urine contains the highest concentration of hCG and therefore is preferable for earlier detection of pregnancy.
Urine specimens may be refrigerated (2-8°C) and stored up to 72 hours prior to testing. If samples are refrigerated, equilibrate to room temperature before testing. Filter, centrifuge, or let settle urine samples exhibiting visible precipitates, use clear aliquots for testing.

## Slide 27: TEST PROCEDURE
1-Place one drop of urine specimen into a circle on the slide
2-Shake the vial containing Latex Reagent to resuspend the suspension completely. Add one drop of suspension to the urine on the slide.
3-Stir with a Dropper/Stirrer until the mixture is spread over the entire surface of the circle.
4-Rock the slide gently during two minutes, providing circular movement of the liquid inside the circle. 5-Watch for agglutination at two minutes. A good light source may improve visibility of agglutination. Note: Do not interpret the test results after more than three minutes

## Slide 28: INTERPRETATION OF RESULT
Positive: at two minutes, agglutination is visible
Negative: agglutination is not visible within two minutes.

## Slide 29: LIMITATIONS OF THE TEST
•Test urine specimens only. Latex Slidecheck is not intended for serum testing.
•Presence of hCG at 0.3 IU/ml or greater is required for a positive result. Concentrations of hCG below this level will give negative results.
•Elevated urine hCG levels comparable to those observed in early pregnancy may also be associated with trophoblastic or non-trophoblastic neoplasms such as a hydatidiform mole or choriocarcinoma; therefore such pathologic conditions should be ruled out before a positive diagnosis is reached.
•As with all diagnostic tests, a definitive clinical diagnosis should not be based on the results of a single test, but should be made only by the physician after all clinical and laboratory findings have been evaluated.