## Slide 1: Advanced Pharmaceutical Analysis
Introduction to Spectroscopy
Dr. Mohammed Al Amiedy

## Slide 2: Pattern Recognition
Specific splitting patterns are commonly seen in 1H NMR spectra, and recognizing these patterns allows for a more efficient analysis.
The figure below shows the characteristic splitting pattern of an isolated ethyl group (isolated means that the CH2 protons are only being split by the CH3 protons).
A compound containing an isolated ethyl group will display a triplet with an integration of 3, upfield from a quartet with an integration of 2 in its 1H NMR spectrum.

## Slide 3: Pattern Recognition

## Slide 4: Pattern Recognition
The presence of these signals in a spectrum is strongly suggestive of the presence of an ethyl group in the structure of the compound.
Since the two kinds of protons of an ethyl group are splitting each other, the J values for the triplet and quartet must be equivalent.
Another commonly observed splitting pattern is produced by isopropyl groups.
A compound containing an isolated isopropyl group will display a doublet with an integration of 6, upfield from a septet (seven peaks) with an integration of 1.

## Slide 5: Pattern Recognition

## Slide 6: Pattern Recognition
The presence of these signals in a 1H NMR spectrum is strongly suggestive of the presence of an isopropyl group in the structure of the compound.
A septet is usually hard to see, since it is so small (integration of 1), so an enlarged reproduction (inset) of the signal is often displayed above the original signal.
Another commonly observed pattern is produced by tert-butyl groups
A compound containing a tert-butyl group will display a singlet with a relative integration of 9.

## Slide 7: Pattern Recognition
The presence of this signal in a 1H NMR spectrum is strongly suggestive of the presence of a tert-butyl group in the structure of the compound.
Pattern recognition is an important tool when analyzing NMR spectra, so let’s quickly review the patterns we have seen

## Slide 8: Complex splitting
Complex splitting occurs when a proton has two different kinds of neighboring protons. For example:
Consider the expected splitting pattern for Hb in this example.
The signal for Hb is being split into a quartet because of the nearby Ha protons, and it is being split into a triplet because of the nearby Hc protons.

## Slide 9: Complex splitting
The signal will therefore be comprised of 12 peaks (4 × 3).
The appearance of the signal will depend greatly on the J values.
If Jab is much greater than Jbc , then the signal will appear as a quartet of triplets.
If, however, Jbc is much greater than Jab, then the signal will appear as a triplet of quartets.
In most cases, the J values will be fairly similar, and we will observe neither a clean quartet of triplets nor a clean triplet of quartets.

## Slide 10: Complex splitting

## Slide 11: Complex splitting

## Slide 12: Complex splitting
In some cases, Jab and Jac will be almost identical.
For example, the 1H NMR spectrum of 1-nitropropane
Look carefully at the splitting pattern of the Hb protons (at approximately 2 ppm).
This signal looks like a sextet, because Jab and Jbc are so close in value.
In such a case, it appears “as if” there are five equivalent neighbors, even though all five protons are not equivalent.

## Slide 13: Complex splitting

## Slide 14: Protons That Lack Observable Coupling Constants
We have seen that some protons can produce signals that exhibit complex splitting.
In contrast, we will now explore cases in which a proton can produce a signal for which splitting is not observed despite the presence of neighboring protons.
Consider the following 1H NMR spectrum of ethanol.
As expected, the spectrum exhibits the characteristic signals of an ethyl group.
In addition, another signal is observed at 2.2 ppm, representing the hydroxyl proton (OH).

## Slide 15: Protons That Lack Observable Coupling Constants
Hydroxyl protons typically produce a signal between 2 and 5 ppm, and it is often difficult to predict exactly where that signal will appear.

## Slide 16: Protons That Lack Observable Coupling Constants
In this NMR spectrum, notice that the hydroxyl proton is not split into a triplet from the neighboring methylene group.
Generally, no splitting is observed across the oxygen atom of an alcohol, because proton exchange is a very rapid process that is catalyzed by trace amounts of acid or base.
Hydroxyl protons are said to be labile, because of the rapid rate at which they are exchanged.

## Slide 17: Protons That Lack Observable Coupling Constants
This proton transfer process occurs at a faster rate than the timescale of an NMR spectrometer, producing a blurring effect that averages out any possible splitting effect.
It is possible to slow down the rate of proton transfer by fully removing the trace amounts of acid and base dissolved in ethanol.
Such purified ethanol does in fact exhibit splitting across the oxygen atom, and the signal at 2.2 ppm is observed to be a triplet.

## Slide 18: Protons That Lack Observable Coupling Constants
There is one other common example of neighboring protons that often do not produce observable splitting.
Aldehydic protons, which generally produce signals near 10 ppm, will often couple only weakly with their neighbors (i.e., a very small J value).
Depending on the size of the J value, splitting may or may not be noticeable. If the J value is too small, then the signal near 10 ppm will appear to be a singlet, despite the presence of neighboring protons.

## Slide 19: Analyzing a 1H NMR Spectrum
Always begin by inspecting the molecular formula (if it is given), as it provides useful information.
Specifically, calculating the hydrogen deficiency index (HDI) can provide important clues about the structure of the compound.
An HDI of zero indicates that the compound does not possess any rings or π bonds. An HDI of 1 indicates that the compound has either one ring or one π bond.
The larger the HDI, the less useful it is. An HDI of 4 or more should indicate the possible presence of an aromatic ring.

## Slide 20: Analyzing a 1H NMR Spectrum
Consider the number of signals and integration of each signal (gives clues about the symmetry of the compound).
Analyze each signal (chemical shift, integration, and multiplicity) and then draw fragments consistent with each signal.
These fragments become our puzzle pieces that must be assembled to produce a molecular structure.
Assemble the fragments into a molecular structure.
Verify that the proposed structure is consistent with all of the spectral data.

## Slide 21: Analyzing a 1H NMR Spectrum
Identify the structure of a compound with the molecular formula C9H10O that exhibits the following 1H NMR spectrum:

## Slide 22: Analyzing a 1H NMR Spectrum
Begin by calculating the HDI. The molecular formula indicates 9 carbon atoms, which would require 20 hydrogen atoms in order to be fully saturated.
There are only 10 hydrogen atoms, which means that 10 hydrogen atoms are missing, and therefore, the HDI is 5.
This is a large number, and it would not be efficient to think about all the possible ways to have five degrees of unsaturation.
However, anytime we encounter an HDI of 4 or more, we should be on the lookout for an aromatic ring

## Slide 23: Analyzing a 1H NMR Spectrum
We must keep this in mind when analyzing the spectrum.
In this case, we should expect to see an aromatic ring (HDI = 4) plus one other degree of unsaturation (either a ring or a double bond).
Next, consider the number of signals and the integration value for each signal.
Be on the lookout for integration values that would suggest the presence of symmetry elements.
For example, a signal with an integration of 4 would suggest two equivalent CH2 groups.

## Slide 24: Analyzing a 1H NMR Spectrum
In this spectrum, we see four signals.
In order to analyze the integration of each signal, we must first divide by the lowest number (10.2):
The ratio is approximately 1 : 5 : 2 : 2. Now look at the molecular formula.
There are 10 protons in the compound, so the relative integration values represent the actual number of protons giving rise to each signal.

## Slide 25: Analyzing a 1H NMR Spectrum
Now analyze each signal. Starting upfield, there are two triplets, each with an integration of 2.
This suggests that there are two adjacent methylene groups.

## Slide 26: Analyzing a 1H NMR Spectrum
These signals do not appear at 1.2, where methylene groups are expected, so one or more factors are shifting these signals downfield.
Our proposed structure must take this into account.
Moving downfield through the spectrum, the next signal appears just above 7 ppm, characteristic of aromatic protons (just as we suspected after analyzing the HDI).
More often, a multiplet of overlapping signals is observed. But the integration value gives valuable information.

## Slide 27: Analyzing a 1H NMR Spectrum
Specifically, there are five aromatic protons, which means that the aromatic ring is monosubstituted.
Next, move on to the last signal, which is a singlet at 10 ppm with an integration of 1.
This is suggestive of an aldehydic proton.
Our analysis has produced the following fragments:

## Slide 28: Analyzing a 1H NMR Spectrum
Now assemble these fragments.
Fortunately, there is only one way to assemble these three puzzle pieces.

## Slide 29: Analyzing a 1H NMR Spectrum
As a final check, let’s make sure that our proposed structure is consistent with all spectral data.
The structure has a monosubstituted aromatic ring (it has five aromatic protons), consistent with a multiplet that has an integration of 5H appearing between 7 and 8 ppm.
The aldehyde proton is consistent with a singlet at 10 ppm with an integration of 1H.
Finally, there are two different methylene groups that are coupled to each other, so each is split into a triplet.

## Slide 30: Analyzing a 1H NMR Spectrum
Each of these triplets is shifted downfield (relative to the benchmark value of 1.2 ppm for a methylene group) as a result of one or more factors.
In particular, one methylene group is shifted significantly by the carbonyl group and slightly by the aromatic ring.
The other methylene group is being shifted significantly by the aromatic ring and slightly by the carbonyl group.
Therefore, our proposed structure is consistent with all of the spectral data.

## Slide 34
Noradrenaline (also called norepinephrine) and serotonin are neurotransmitters that act in the central nervous system.
A synthetic compound called PMPEA has effects that are similar to both noradrenaline and serotonin in the spinal cord. Deduce the structure of PMPEA, given its molecular formula (C9H13NO) and the following 1H NMR spectral data:
1.1 δ (2H, broad singlet) 2.7 δ (2H, triplet)
2.9 δ (2H, triplet) 3.8 δ (3H, singlet)
6.8 δ (2H, doublet) 7.1 δ (2H, doublet)

## Slide 35: Acquiring a 13C NMR Spectrum
Many of the principles that apply to 1H NMR spectroscopy also apply to 13C NMR spectroscopy, but there are a few major differences, and we will focus on those.
For example, 1H is the most abundant isotope of hydrogen, but 13C is only a minor isotope of carbon, representing about 1.1% of all carbon atoms found in nature.
As a result, only one in every hundred carbon atoms will resonate, which demands the use of a sensitive receiver coil for 13C NMR spectroscopy.

## Slide 36: Acquiring a 13C NMR Spectrum
In 1H NMR spectroscopy, we saw that each signal has three characteristics (chemical shift, integration, and multiplicity).
In 13C NMR spectroscopy, only the chemical shift is generally reported. The integration and multiplicity of 13C signals are not reported, which greatly simplifies the interpretation of 13C NMR spectra.
Integration values are not routinely calculated in 13C NMR spectroscopy because the pulse technique employed by FTNMR spectrometers has the undesired effect of distorting the integration values.
Multiplicity is not a common feature of 13C NMR spectra.

## Slide 37: Acquiring a 13C NMR Spectrum
Notice that all of the signals are recorded as singlets.
There are several good reasons for this.
First, no splitting is observed between neighboring carbon atoms because of the low abundance of 13C.
The likelihood of a compound having two neighboring 13C atoms is quite small, so 13C −13C splitting is not observed.

## Slide 38: Acquiring a 13C NMR Spectrum
In contrast, 13C −1H splitting does occur, and it creates significant problems.
The signal of each 13C atom nucleus is split not only by the protons directly connected to it (separated by only one sigma bond) but also by the protons that are two or three sigma bonds removed.
This leads to very complex splitting patterns, and signals overlap to produce an unreadable spectrum.
To solve the problem, all 13C −1H splitting is suppressed with a technique called broadband decoupling, which uses two rf transmitters.

## Slide 39: Acquiring a 13C NMR Spectrum
The first transmitter provides brief pulses in the range of frequencies that cause 13C nuclei to resonate, while the second transmitter continuously irradiates the sample with the range of frequencies that cause all 1H nuclei to resonate.
This second rf source effectively decouples the 1H nuclei from the 13C nuclei, causing all of the 13C signals to collapse to singlets.
The advantage of broadband decoupling comes at the expense of useful information that would otherwise be obtained from spin-spin coupling.

## Slide 40: Acquiring a 13C NMR Spectrum
A technique called off-resonance decoupling allows us to retrieve some of this information.
With this technique, only the one-bond couplings are observed, so CH3 groups appear as quartets, CH2 groups appear as triplets, CH groups appear as doublets, and quaternary carbon atoms appear as singlets.
Nonetheless, off-resonance decoupling is rarely used because it often produces overlapping peaks that are difficult to interpret.

## Slide 41: Chemical Shifts in 13C NMR Spectroscopy
The range of rf frequencies in 13C spectroscopy is different from that used in 1H NMR spectroscopy, because 13C atoms resonate over a different frequency range.
Just as in 1H NMR spectroscopy, the position of each signal is defined relative to the frequency of absorption of a reference compound, TMS.
The chemical shift of each 13C atom is constant, regardless of the operating frequency of the spectrometer.
In 13C NMR spectroscopy, chemical shift values typically range from 0 to 220 ppm

## Slide 42: Chemical Shifts in 13C NMR Spectroscopy
The number of signals in a 13C NMR spectrum represents the number of carbon atoms in different electronic environments (not interchangeable by symmetry).
Carbon atoms that are interchangeable by a symmetry operation (either rotation or reflection) will only produce one signal.
Consider the following compounds. Each compound has eight carbon atoms but does not produce eight signals.
The unique carbon atoms in each compound are highlighted. Each carbon atom that is not highlighted is equivalent to one of the highlighted carbon atoms.

## Slide 43: Chemical Shifts in 13C NMR Spectroscopy
The location of each signal is dependent on shielding and deshielding effects, just as we saw in 1H NMR spectroscopy

## Slide 44: Chemical Shifts in 13C NMR Spectroscopy
Consider the following compound:
Predict the number of signals and the location of each signal in a 13C NMR spectrum of this compound.

## Slide 45: Chemical Shifts in 13C NMR Spectroscopy
Begin by determining the number of expected signals.
The compound has nine carbon atoms, but we must look to see if any of these carbon atoms are interchangeable by a symmetry operation.
In this case, there is both a plane and an axis of symmetry.
As a result, we expect only five signals in the 13C NMR spectrum.

## Slide 46: Chemical Shifts in 13C NMR Spectroscopy
In general, when two methyl groups are attached to the same carbon atom, they will be equivalent.
This is not the case in this example, because one methyl group is cis to the carbonyl (C=O) group, while the other methyl group is trans to the carbonyl group.
The expected chemical shifts are shown below, categorized according to the region of the spectrum in which each signal is expected to appear:

## Slide 47: DEPT 13C NMR Spectroscopy
A broadband-decoupled 13C spectrum does not provide information regarding the number of protons attached to each carbon atom in a compound.
This information can be obtained through a variety of recently developed techniques, one of which is called distortionless enhancement by polarization transfer (DEPT).
DEPT 13C NMR spectroscopy utilizes two rf transmitters and relies on the fact that the intensity of each particular signal will respond to different pulse sequences in a predictable fashion, depending on the number of protons attached.

## Slide 48: DEPT 13C NMR Spectroscopy
This technique involves the acquisition of several spectra.
First, a regular broadband-decoupled 13C spectrum is acquired, indicating the chemical shifts associated with all carbon atoms in the compound.
Then a special pulse sequence is utilized to produce a spectrum called a DEPT-90, in which only signals from CH groups appear.
This spectrum does not show any signals resulting from CH3 groups, CH2 groups, or quaternary carbon atoms (C with no protons).

## Slide 49: DEPT 13C NMR Spectroscopy
Then, a different pulse sequence is employed to generate a spectrum, called a DEPT-135, in which CH3 groups and CH groups appear as positive signals, CH2 groups appear as negative signals (pointing down), and quaternary carbon atoms do not appear.
By comparing all of the spectra, it is possible to identify each signal in the broadband-decoupled spectrum as arising from either a CH3 group, a CH2 group, a CH group, or a quaternary carbon atom.
This information is summarized in table below.

## Slide 50: DEPT 13C NMR Spectroscopy

## Slide 51: DEPT 13C NMR Spectroscopy
Notice that each type of group exhibits a different absorption pattern when all three spectra are compared.
For example, only CH groups give positive signals in all three spectra, while CH2 groups are the only groups that give negative signals in the DEPT-135 spectrum.
This technique therefore produces a series of spectra that collectively contain all of the information in an off-resonance decoupled spectrum, but without the disadvantage of overlapping signals.