Unit of energy:

The capacity of an agent to do work is known as its energy. The most important forms of energy are mechanical energy, electrical energy and thermal energy. Different units have been assigned to various forms of energy. However, it must be realized that since mechanical, electrical and thermal energies are interchangeable, it is possible to assign the same unit to them.

- Mechanical energy. The unit of mechanical energy is newton-metre or joule on the M.K.S. or SI system. The work done on a body is one newton-meter (or joule) if a force of one newton moves it through a distance of one meter i.e.,

Mechanical energy in joules = Force in newton × distance in metres

(ii) Electrical energy. The unit of electrical energy is watt-sec or joule and is defined as follows:

Electrical energy in watt-sec (or joules) = voltage in volts × current in amperes × time in seconds

Joule or watt-sec is a very small unit of electrical energy for practical purposes.

In practice, for the measurement of electrical energy, bigger units viz., watt-hour and kilowatt hour are used.

1 watt-hour = 1 watt × 1 hr = 1 watt × 3600 sec = 3600 watt-sec

1 kilowatt hour (kWh) = 1 kW × 1 hr = 1000 watt × 3600 sec = 36 x 105 watt-sec.

(iii) Heat. Heat is a form of energy which produces the sensation of warmth. The unit* of heat is calorie.

Calorie. It is the amount of heat required to raise the temperature of 1 gm of water through 1ºC

1 calorie = 1 gm of water × 1ºC

Sometimes a bigger unit namely kilocalorie is used. A kilocalorie is the amount of heat required to raise the temperature of 1 kg of water through 1ºC i.e.,

1 kilocalorie = 1 kg × 1ºC = 1000 gm × 1ºC = 1000 calories

B.Th.U. It is the amount of heat required to raise the temperature of 1 lb of water through 1ºF i.e.,

1 B.Th.U. = 1 lb × 1ºF

C.H.U. It is the amount of heat required to raise the temperature of 1 lb of water through 1ºC i.e.,

1 C.H.U. = 1 lb × 1ºC

(i) Electrical and Mechanical

1 kWh = 1 kW × 1 hr

= 1000 watts × 3600 seconds = 36 × 105 watt-sec. or Joules

∴ 1 kWh = 36 × 105 Joules

It is clear that electrical energy can be expressed in Joules instead of kWh.

(ii) Heat and Mechanical

(a) 1 calorie = 4·18 Joules (By experiment)

(b) 1 C.H.U. = 1 lb × 1ºC = 453·6 gm × 1ºC

= 453·6 calories = 453·6 × 4·18 Joules = 1896 Joules

∴ 1C.H.U. = 1896 Joules

(c) 1 B.Th.U. = 1 lb × 1ºF = 453·6 gm × 5/9 ºC

= 252 calories = 252 × 4·18 Joules = 1053 Joules

∴ 1 B.Th.U. = 1053 Joules

It may be seen that heat energy can be expressed in Joules instead of thermal units viz. calorie, B.Th.U. and C.H.U.

(iii) Electrical and Heat

(a) 1 kWh = 1000 watts × 3600 seconds = 36 × 105 Joules

= 36 10

4 18

5 ×⋅

calories = 860 × 103 calories

∴ 1 kWh = 860 × 103 calories or 860 kcal

(b) 1 kWh = 36 × 105 Joules = 36 × 105/1896 C.H.U. = 1898 C.H.U.

[_ 1 C.H.U. = 1896 Joules]

∴ 1 kWh = 1898 C.H.U.

(c) 1 kWh = 36 × 105 Joules = 36 10

1053

× 5 B.Th.U. = 3418 B.Th.U.

[_ 1 B.Th.U. = 1053 Joules]

∴ 1 kWh = 3418 B.Th.U.

Efficiency η =( Output power/Input power)

Example 1.1. Mechanical energy is supplied to a d.c. generator at the rate of 4200 J/s. The

generator delivers 32·2 A at 120 V.

(i) What is the percentage efficiency of the generator?

(ii) How much energy is lost per minute of operation?

Measuring efficiency of compressor.