Lecture One

PROPERTIES AND CONTAMINANTS OF WATER

1.1 Introduction

Methods used for the treatment of a raw water will depend on the properties of the water and the presence and concentrations of any contaminants. Groundwaters usually have low levels of colour and turbidity and consistent microbiological quality, although water from shallow wells and some springs may be more variable. Particular problems may include high or low pH value and alkalinity and high concentrations of iron, manganese, nitrate, chlorinated solvents or pesticides. Surface waters may have high levels of colour and turbidity and exhibit poor microbiological quality. Quality may be variable and deteriorate following periods of heavy rainfall. Other problems may include low pH value and alkalinity and high concentrations of aluminium, iron, manganese, nitrate or pesticides.

1.2 Microbiological parameters

The microbiological quality of drinking water has traditionally been assessed by monitoring for bacteria called faecal indicator organisms (coliforms, E. coli, and enterococci). The presence of these organisms is indicative of past faecal contamination and hence the possible presence of enteric pathogens. Although indicator organisms are generally adequate for monitoring purposes they cannot completely be relied on to indicate the absence of pathogens. This is especially true where a pathogen is environmentally more robust, or can survive treatment better than the indicators. In these circumstances the indicator may be absent even though low numbers of pathogens still remain.

1.3 Chemical contaminants

Aluminium

Aluminium is a natural constituent of many raw waters, particularly acidic surface waters derived from upland catchments particularly in conifer afforested catchments and its presence is highly episodic related to precipitation. Aluminium compounds may also be introduced into treated water as the result of its use as a coagulant to remove colour and turbidity. The UK drinking water quality regulations include a national standard for aluminium of 200 µg/l. Aluminium can deposit within the distribution system and give rise to aesthetic problems. Aluminium in raw water can be removed by coagulation and filtration. The use of aluminium sulphate as a coagulant in water treatment should normally result in a residual concentration of no more than 50 to 100 µg/l Al. Aluminium in small water supplies can be removed by use of filtration or membrane techniques.

Iron and manganese

Iron and manganese derived from minerals and sediments can be present in particulate or dissolved form in groundwaters and surface waters. Iron and manganese concentrations in surface waters are usually less than 1 mg/l but much higher concentrations (up to 50 mg/l Fe and 30 mg/l Mn) can be encountered in groundwaters. Iron and manganese suspensions cause aesthetic problems including metallic taste and discolouration of water fittings and laundry. High dissolved iron and manganese concentrations can also increase chlorine demand and thus reduce the efficiency of chlorine disinfection. The UK drinking water quality regulations include national standards for iron and manganese of 200 µg/l and 50 µg/l, respectively. Iron and manganese can be removed by filtration although oxidation, coagulation and sedimentation may be required for high concentrations particularly if the metals are in dissolved form.

Lead

The concentration of lead in raw waters rarely exceeds 20 µg/l but higher concentrations do occur in water drawn from strata containing galena or other lead ores. High levels of lead in drinking waters are usually caused by the dissolution of lead (plumbosolvency) from lead pipework, tank linings or use of leaded alloys in water fittings. Traces of lead may also be derived from lead solder and from PVC pipes containing lead-based stabilisers. The UK drinking water quality regulations specify a standard for lead of 10 µg/l.

Nitrate

Nitrate (NO3 -) occurs naturally in water as a result of the oxidation of ammonia, which is released during mineralisation of organic nitrogen. In some areas agriculture is the major source of nitrate in surface waters and groundwaters. The discharge of nitrate-containing effluents from sewage treatment works contributes to the concentration of nitrate in some surface waters. Ion-exchange, biological de-nitrification and certain membrane processes can reduce nitrate concentrations. Of these, only ion-exchange and membrane processes are likely to be practicable for small water supplies. It may be appropriate to consider controls over agricultural activities within catchment areas as a long term means of reducing the leaching of nitrate into water supplies, if these are the source.

Ammonia

Most natural waters contain traces of ammonia or ammonium compounds. The ammonia found in water may occur naturally or it may indicate that recent pollution has taken place. Ammonia may also be derived from the decay of organic material in the soil resulting in small concentrations in water; unpolluted river waters rarely contain more than 0.05 mg/l NH4. On the other hand, the presence of ammonia could indicate contamination from human or animal sources. Elevated concentrations in water should be investigated to ascertain the cause. The UK drinking water quality regulations set an indicator parameter value for ammonia of 0.5 mg/l NH4.

Pesticides

The use of pesticides for agricultural and non-agricultural purposes is widespread and there are approximately 450 different active ingredients in pesticides licensed. he UK drinking water quality regulations specify standards of 0.1 µg/l for individual pesticides and 0.5 µg/l for total pesticides.

1.4 Physical and chemical Parameters

Physical and chemical characteristics relate to the quality of water for domestic and usually associated with the general appearance of the water.

Odor and Taste

It is the most common observation in water quality. The sources would be from organic compounds such as degradation of organic matters or petroleum, and inorganic compounds such as minerals, metals, salts which gives the taste. In addition, certain types of algae, especially the blue-green algae, can also impact foul tastes and odors. The significant effect of this would be upon our health, example gases like chlorine (Cl2) and feeling aesthetic.

Colour

A water may appear coloured because of material in suspension and true colour can only be determined after filtration. The removal of colour from water is necessary not only for aesthetic reasons but also because chlorination of highly coloured waters can give rise to high concentrations of trihalomethanes which is formed as a result of reactions between chlorine and some organic substances present in raw waters. High colour also reduces the efficiency of disinfection by chlorination and ozonation. Colour will also cause fouling of reverse osmosis membranes.

pH

pH is a term used to indicate the alkalinity or acidity of a substance as ranked on a scale from 1.0 to 14.0. Normally it is caused by the balance of positive hydrogen ions (H+) and negative hydroxide ions (OH-) in water. The water will becomes acid if the scale falls below than 7 and alkaline if more than 7.

Turbidity

Turbidity is a measure of the amount of particulate matter that is suspended in water. It normally measured in Nephelometric Turbidity Units (NTU). The sources would be from organic compounds such as plant fiber, human waste, etc. and inorganic compounds such as clay or sand. Beside of feeling aesthetic and effect upon health, the adsorption point or centre for chemicals and micro-organism would also effected.

Temperature

Water temperature affects the ability of water to hold oxygen, the rate of photosynthesis by aquatic plants and the metabolic rates of aquatic organisms. The sources would normally be the effect from changes of weather or heat and industrial activities such as cooling system. The temperature effects would be upon the disturbance of biological activities (aquatic life and micro-organism) and the chemical properties such as the degree of gas solubility, density and viscosity.

Total Suspended Solid

Total suspended solids (TSS) or minerals is a measure of the amount of sediment moving along in a stream. The sources would be from organic compounds such as plant fiber, human waste, etc. and inorganic compounds such as clay or sand. Beside of feeling aesthetic and effect upon health, the adsorption point or centre for chemicals and micro-organism would also effected. (It measured in mg/L).

Total Dissolved Solid

The total dissolved solids (TDS) in water consist of inorganic salts and dissolved materials. In other words, solid left in water after it was filtered and dried. The sources would be from organic compounds such as product from degradation of organic matters or gas and inorganic compounds such as minerals, metals and gases. The effect would cause the taste, color, and odor problems as well as our health, plus water would becomes corrosive to attain equilibrium due to small amount of TDS matter.

Electrical conductivity

The EC in water is related to the TDS. It is a measure of ability of the water to conduct an electrical current. The EC increases when TDS increases and visa versa.

Dissolved oxygen (DO)

In nature, clean waters are saturated with DO or nearly. If organic wastes are discharged into the natural waters, microorganisms decompose these wastes and utilize DO. Then the level of DO in natural water is an indicator to the pollution.

Alkalinity

Alkalinity in natural water is due to the presence of bicarbonate and carbonate ions, and also it may be due to salts of silicate, phosphorate, organic acids and hydroxides.

Hardness

Hard water is associated with formation of scales in boilers, heaters and hot water pipes. Hardness in natural water is due to calcium and magnesium ions. As a function of hardness, the water is classified as soft, moderately hard, hard, very hard and extremely hard, as the following table.

Biochemical oxygen demand (BOD)

The BOD test gives an indication of the oxygen required to degrade biochemically any organic matter present in a water, as well as the oxygen needed to oxidize inorganic materials such as sulphides.

Table (1.1) shows the standards for the water quality parameters interested in drinking water.

| Parameter | MAC (mg/L) |
| --- | --- |
| Aldicarb | 0.009 |
| Aldrin + dieldrin | 0.0007 |
| Aluminuma |  |
| *Antimonyb | 0.006 |
| Arsenic | 0.010 |
| *Atrazine + metabolites | 0.005 |
| Azinphos-methyl | 0.02 |
| Barium | 1 |
| Bendiocarb | 0.04 |
| Benzene | 0.005 |
| Benzo[a]pyrene | 0.00001 |
| *Boron | 5 |
| *Bromate | 0.01 |
| Bromodichloromethane (BDCM) | 0.016 |
| *Bromoxynil | 0.005 |
| Cadmium | 0.005 |
| Carbaryl | 0.09 |
| Carbofuran | 0.09 |
| Carbon tetrachloride | 0.005 |
| Chloramines—total | 3 |
| Chlorate | 1.0 |
| Chloride |  |
| Chlorite | 1.0 |
| Chlorpyrifos | 0.09 |
| Chromium | 0.05 |
| Colourd |  |
| Copperb |  |
| *Cyanazine | 0.01 |
| Cyanide | 0.2 |
| Cyanobacterial toxins-Microcystin-LRc | 0.0015 |
| Diazinon | 0.02 |
| Dicamba | 0.12 |
| 1,2-Dichlorobenzenee | 0.2 |
| 1,4-Dichlorobenzenee | 0.005 |
| *1,2-Dichloroethane | 0.005 |
| 1,1-Dichloroethylene | 0.014 |
| Dichloromethane | 0.05 |
| 2,4-Dichlorophenol, | 0.9 |
| *2,4-Dichlorophenoxyacetic acid (2,4 -D) | 0.1 |
| Diclofop-methyl | 0.009 |
| *Dimethoate | 0.02 |
| Dinoseb | 0.01 |
| Diquat | 0.07 |
| Diuron | 0.15 |
| Ethylbenzene |  |
| Fluoride | 1.5 |
| *Glyphosate | 0.28 |
| Haloacetic Acids-Total (HAAs) | 0.080 |
| Iron |  |
| Leadb | 0.01 |
| Malathion | 0.19 |
| Manganese |  |
| Mercury | 0.001 |
| Methoxychlor | 0.9 |
| Methyl tertiary-butyl ether (MTBE) |  |
| *Metolachlor | 0.05 |
| Metribuzin | 0.08 |
| Monochlorobenzene | 0.08 |
| Nitratef | 45 |
| Nitrilotriacetic acid (NTA) | 0.4 |
| Odour | No |
| *Paraquat (as dichloride)g | 0.01 |
| Parathion | 0.05 |
| Pentachlorophenol | 0.06 |
| pHh | 6.2-8 |
| Phorate | 0.002 |
| *Picloram | 0.19 |
| Selenium | 0.01 |
| *Simazine | 0.01 |
| Sodiumi |  |
| Sulphatej |  |
| Sulphide (as H2S) |  |
| Taste | No |
| Temperature |  |
| *Terbufos | 0.001 |
| Tetrachloroethylene | 0.03 |
| 2,3,4,6-Tetrachlorophenol | 0.1 |
| Toluene |  |
| Total dissolved solids (TDS) |  |
| Trichloroethylene | 0.005 |
| 2,4,6-Trichlorophenol | 0.005 |
| *Trifluralin | 0.045 |
| Trihalomethanes-total (THMs)k | 0.100 |
| Turbidityl | <1 NTU |
| *Uranium | 0.02 |
| Vinyl chloride | 0.002 |
| Xylenes—total |  |
| Zincb |  |

aThis is an operational guidance value, designed to apply only to drinking water treatment plants using aluminum-based coagulants. The operational guidance values of 0.1 mg/L applies to conventional treatment plants, and 0.2 mg/L applies to other types of treatment systems.

bFaucets should be thoroughly flushed before water is taken for consumption or analysis.

cThe guideline is considered protective of human health against exposure to all microcystins that may be present.

dTCU = true colour unit.

eIn cases where total dichlorobenzenes are measured and concentrations exceed the most stringent value (0.005 mg/L), the concentrations of the individual isomers should be established.

fEquivalent to 10 mg/L as nitrate-nitrogen. Where nitrate and nitrite are determined separately, levels of nitrite should not exceed 3.2 mg/L.

gEquivalent to 0.007 mg/L for paraquat ion.

hNo units.

iIt is recommended that sodium be included in routine monitoring programmes, as levels may be of interest to authorities who wish to prescribe sodium-restricted diets for their patients.

jThere may be a laxative effect in some individuals when sulphate levels exceed 500 mg/L.

kExpressed as a running annual average. The guideline is based on the risk associated with chloroform, the trihalomethane most often present and in greatest concentration in drinking water.

lRefer to section on Guidelines for microbiological parameters for information related to various treatment processes.

Public acceptance of hardness varies considerably. Generally, hardness levels between 80 and 100 mg/L (as CaCO3) are considered acceptable; levels greater than 200 mg/L are considered poor but can be tolerated; those in excess of 500 mg/L are normally considered unacceptable. Where water is softened by sodium ion exchange, it is recommended that a separate, unsoftened supply be retained for culinary and drinking purposes.

Lecture two

2.1 Design Periods

A water treatment plant is generally designed and constructed to serve the needs of a community for a number of years in the future. The initial year is the year when the construction is completed and the initial operation begins. The design or planning year is the year when the facility is expected to reach its full designed capacity. Period between initial and design year is known as the design period.

Design period is estimated based on the following:

- Useful life of the component, considering obsolescence, wear, tear, etc.

- Expandability aspect.

- Anticipated rate of growth of population, including industrial, commercial developments & migration-immigration.

- Available resources.

- Performance of the system during initial period.

The design periods usully adopted are as following:

- Dams: 25-100 years

- Treatment plant: 10-25 years

- Pumps: 10 years

- Distribution system: 35-45 years

2.2 Population Forecasting Methods

The various methods adopted for estimating future populations are given below. The particular method to be adopted for a particular case or for a particular city depends largely on the factors discussed in the methods, and the selection is left to the discrection and intelligence of the designer.

- Arithmetic Method

- Geometric Method

- Declining growth Method

- Logistic Curve Method

- Ratio Method

- Curvilinear Method

2.2.1 Arithmetic Method

This method is based on the assumption that the population increases at a constant rate. This method is most applicable to large and established cities.

2.2.2 Constant percentage method

This method assumes that the rate of growth is proportional to the population.

2.2.3 Declining growth method

Population is assumed to reach some limiting value or saturation point.

2.2.4 Logistic Curve Method

The three factors responsible for changes in population are : 
(i) Births, (ii) Deaths and (iii) Migrations. Logistic curve method is based on the hypothesis that when these varying influences do not produce extraordinary changes, the population would probably follow the growth curve characteristics of living things within limited space and with limited economic opportunity. The curve is S-shaped and is known as logistic curve.

2.2.5 Ratio Method

In this method, the local population and the country's population for the last four to five decades is obtained from the census records. The ratios of the local population to national population are then worked out for these decades. A graph is then plotted between time and these ratios, and extended upto the design period to extrapolate the ratio corresponding to future design year. This ratio is then multiplied by the expected national population at the end of the design period, so as to obtain the required city's future population.

2.2.6 Curvilinear  Method

Depends on the statistical data of population number at any years (Max 30 years).

Example

The population number of a city at 1990 was 6200 capital and became 8000 capital in 2000. Estimate the population at 2020?

Hasan Hashim

Example

The following table shows the number of the population as a function of time. Estimate the population number at 1970?

| Year | 1930 | 1940 | 1950 | 1960 |
| --- | --- | --- | --- | --- |
| Pop. number | 62000 | 74000 | 85000 | 100000 |

Mo'yad Fakir page 5

2.3 Water Consumption Rate

It is very difficult to precisely assess the quantity of water demanded by the public, since there are many variable factors affecting water consumption. The various types of water demands, which a city may have, may be broken into following classes:

Table (2.1) Water Consumption for Various Purposes:

|  | Types of Consumption | Normal Range (lit/capita/day) | Average | % of total |
| --- | --- | --- | --- | --- |
| 1 | Domestic Consumption | 65-300 | 160 | 35 |
| 2 | Industrial and Commercial Demand | 45-450 | 135 | 30 |
| 3 | Public Uses including Fire Demand | 20-90 | 45 | 10 |
| 4 | Losses and Waste | 45-150 | 62 | 25 |

Factors affecting per capita demand:

1) Size of the city: Per capita demand for big cities is generally large as compared to that for smaller towns as big cities have sewered houses.

2) Presence of industries.

3) Climatic conditions.

4) Habits of people and their economic status.

5) Quality of water: If water is aesthetically $ medically safe, the consumption will increase as people will not resort to private wells, etc.

6) Pressure in the distribution system.

7) Efficiency of water works administration: Leaks in water mains and services; and unauthorised use of water can be kept to a minimum by surveys.

8) Cost of water.

2.3.1 Fluctuations in Rate of Demand

Average Daily Per Capita Demand = Quantity Required in 12 Months/ (365 x Population).

If this average demand is supplied at all the times, it will not be sufficient to meet the fluctuations.

- Seasonal variation: The demand peaks during summer. Firebreak outs are generally more in summer, increasing demand. So, there is seasonal variation .

- Daily variation depends on the activity. People draw out more water on Sundays and Festival days, thus increasing demand on these days.

- Hourly variations are very important as they have a wide range. During active household working hours i.e. from six to ten in the morning and four to eight in the evening, the bulk of the daily requirement is taken. During other hours the requirement is negligible. Moreover, if a fire breaks out, a huge quantity of water is required to be supplied during short duration, necessitating the need for a maximum rate of hourly supply.

Maximum daily demand = 1.8 x average daily demand
Maximum hourly demand of maximum day i.e. Peak demand
               = 1.5 x average hourly demand 
               = 1.5 x Maximum daily demand/24
               = 1.5 x (1.8 x average daily demand)/24 
               = 2.7 x average daily demand/24
               = 2.7 x annual average hourly demand

To estimate the ratios of maximum month, week, day and hour demand it can be used the following equation:

P=180 t-0.1  ………………..2.1

Where  P= percent of the annual average demand for time, t.

Example

Population of a city after 10 years is 35000 cap, and now is 28000 cap. The rate of consumption now is 1.6*106 l/day and the design capacity of the treatment plant is 5*106 l/day. If the rate of grouth of the population is Arithmatic increase, find the year which the treatment plant reachs to the designed capacity?

Hasan Hashim

2.4 Fire Fighting Demand

The per capita fire demand is very less on an average basis but the rate at which the water is required is very large. The rate of fire demand is sometimes traeted as a function of population and is worked out from following empirical formula:

…………………2.2

Where

F= fire flow required m3/day

A= total area m2

C= coefficient related to the type of construction:

1.5 for wood frame construction

1 for ordinary construction

0.8 for noncombustible construction

0.6 for fire resistive construction

Note

If a building consists from many materials, for example 2 materials. In this case we must calculate the total area A=A1+A2, and we consider that all building consist from the first material and we find F1. In the next step we consider that all building consist from the second material and we find F2. Finally, fire flow required equal:

F=F1*(A1/A)+F2*(A2/A) …………..2.3

The following table shows the duration for fire flow:

Table (2.2) Fire flow duration

| Flow rate m3/min | Duration, h |
| --- | --- |
| 7.6 | 2 |
| 11.3 | 3 |
| 15.1 | 4 |
| 18.9 | 5 |
| 22.7 | 6 |
| 26.5 | 7 |
| 30.2 | 8 |
| 34 | 9 |
| 37.8 | 10 |

Example

Building with normal material consists of 2 stories each one with are 100 m2. Find the flow rate fire demand and his period (duration)?

Hasan Hashim

Example

A 4 stories wooden frame building has each floor of area 509 m2. This building is adjacent to 5 story building of ordinary construction with 900 m2 per floor. Determine the fire flow and duration for each building and that for both building (assumeing that they are connected).

Book (Water works engineering), page 77

Lecture three

3.1Process selection and the treatment process train

Water treatment plant utilize a number of treatment processes to achieve the desired degree of treatment. Each stage of this processes has a function to remove a contaminant. Then the design engineer must evaluate numerous important factors in the selection of the treatment processes. These factors include finished water quality standards, state design criteria, constituents treated, topography and geology, hydraulic requirement, energy requirement and plant economics.

The collective arrangement of various treatment processes is called flow schema, processes diagram, or processes train.

In the most water treament plant, the processes include:

- Water intake

- Coarse and fine screen

- Pumps and pumping station

- Coagulation and flocculation tanks

- Sedimentation tanks

- Filtration

- Disinfection

Figure 3.1 shows the typical water treatment processes train. Also, table 3.1 indicates the capability of the various treatment techniques for removing contaminants.

Fig (3.1) processes train  of  the water treatment plant

3.2 Intake Structure

The basic function of the intake structure is to help in safely withdrawing water from the source over predetermined pool levels and then to discharge this water into the withdrawal conduit (normally called intake conduit), through which it flows up to water treatment plant.

3.2.1 Factors Governing Location of Intake

1) As far as possible, the site should be near the treatment plant so that the cost of conveying water to the city is less.

2) The intake must be located in the purer zone of the source to draw best quality water from the source, thereby reducing load on the treatment plant.

3) The intake must never be located at the downstream or in the vicinity of the point of disposal of wastewater.

4) The site should be such as to permit greater withdrawal of water, if required at a future date.

5) The intake must be located at a place from where it can draw water even during the driest period of the year.

6) The intake site should remain easily accessible during floods and should noy get flooded. Moreover, the flood waters should not be concentrated in the vicinity of the intake.

3.2.2 Design Considerations

1) sufficient factor of safety against external forces such as heavy currents, floating materials, submerged bodies, ice pressure, etc.

2) should have sufficient self weight so that it does not float by up thrust of water.

3) Intake velocity plays an important role if the intake is a gate. High intake velocity increase head losses, and low intake velocity require the intake port to be larger and so add to the cost of the structure.

3.2.3 Design of intakes

The hydraulic consideration in intake structure is energy losses due to the acceleration. The losses through the intake port can be calculated by using the orifice equation:

………………..3.1

Where

where,

h = head loss, m
Q = discharge, m3/s
C = coefficient of discharge (0.6-0.9)
A = effective submerged open area, m2

3.3 Screening

A screen is a device with openings for removing bigger suspended or floating matter in water which would otherwise damage equipment or interfere with satisfactory operation of treatment units.

3.3.1 Types of Screens

Coarse Screens: Coarse screens also called racks, are usually bar screens, composed of vertical or inclined bars spaced at equal intervals across a channel through which raw water flows. Clear space between bars ranges from 20 to 50 mm. Bar screens are usually hand cleaned and sometimes provided with mechanical devices. These cleaning devices are rakes which periodically sweep the entire screen removing the solids for further processing or disposal. Hand cleaned racks are set usually at an angle of 45° to the horizontal to increase the effective cleaning surface and also facilitate the raking operations. Mechanical cleaned racks are generally erected almost vertically. The angle of inclination of rack with horizontal is between 30o and 60o.

Fine screen: Fine screen is used to remove smaller objects that may damage pumps or other equipment. They may be located either at the intake structure or at the raw water pump station.

Figure 3.2 shows two types of screen.

- Coarse screen

- Fine screen

Fig (3.2) Types of screen

3.3.2 Design of screen

The design velocity should be such as to permit 100% removal of material of certain size without undue depositions. Velocities of 0.6 to 1.2 m/s through the open area for the peak flows have been used satisfactorily. Further, the velocity at low flows in the approach channel should not be less than 0.3 m/s to avoid deposition of solids.

Head loss varies with the nature of screenings (open area, blocked area, shape of the screen) and with hydraulic parameters at the upstream of the screen. The head loss through a vertical bar screens is calculated from the following formula:

………….3.2

where, h = head loss in m, = velocity through bar opening in m/s, = approach velocity in m/s.

Another formula often used to determine the head loss through an inclined bar rack is Kirschmer's equation:

h =  (W/b)4/3 (v2/2g) sin     ……………..3.3

where h = head loss,m

 = bar shape factor (2.42 for sharp edge rectangular bar, 1.83 for rectangular bar with semicircle upstream, 1.79 for circular bar and 1.67 for rectangular bar with both u/s and d/s face as semicircular).

W = maximum width of bar u/s of flow, m

b = minimum clear spacing between bars, m

v = approach velocity, m/s

 = angle of inclination of rack with horizontal (30-60o)

The head loss through screen can be calculated either by above equations or by orifice equation (3.1). Orifice formula can be used when the screen is located at the pumping station.

Intake design example

Design an intake tower with gates meet the following requirement:

- Minimum reservoir elevation = 70 m msl

- Maximum reservoir elevation = 90 m msl

- Normal water surface elevation = 85 m msl

- Flow rate = 113500 m3/day

- Velocity = 0.08 m/s

Solution

Q = 113500 m3/day = 1.31 m3/s

A = 1.32 / 0.08 = 16.38 m2

This is too large for a single gate, so select two equal size square gates

Width = (16.38 / 2)0.5 = 2.86 m, then use width and height = 3 m

Set the highest gate with its top two meters below the normal water surface elevation of 85 m, then a centerline elevation = 81.5 m (85-2-1.5). Now, set the lowest gate at a centerline elevation = 65 m. Provide additional gates at two levels equally spaced over 16.5 m range (81.5-65).

Spacing = 16.5 / 3 space = 5.5 m/space

Gates will be provided at centerline elevations of 81.5, 76, 70.5 and 65 m, as shown in the figure (1).

The head loss through the intake can be calculated from the orifice formula (eq 3.1). Two gates is used and others are standby. Thereforem the flow rate = 1.31 / 2 = 0.66 m3/s

Fig (1) Intake structure

Now, to calculate the stability of the structure we must compare the weight of water displaced at the maximum elevation with the weight of tower when it is empty (worst condition).

Volume of water displaced by tower and base slab = 10m*10m*30m + 15m*15m*2.5m = 3563 m3

The weight of water displaced = 3563 m3 / 1000 kg/m3 = 3.56*106 kg

The weight of structure equal the weight of side walls plus the weight of the foundation slab.

Weight of side walls = (10m*10m*35m - 8m*8m*35m) * 2308 kg/m3 = 2.91*106 kg

Weight of the foundation slab = 15m*15m*2.5m* 2308 kg/m3 =

1.3*106 kg

Total weight of structure = 2.91*106 kg + 1.3*106 kg = 4.21*106 kg> 3.56*106 kg OK

Safty factor = 4.21*106 / 3.56*106 = 1.2  Very GOOG

Design example

A mechanical bar screen is to be used in an approach channel with a maximum velocity of 1 m/s. The bars are 15mm thick, and the opening are 25mm wide. Determine the velocity between bars and the head losses.

Solution

Example

A bar screen measuring 2 m by 5 m of surficial flow area is used to protect the pump in a shoreline intake of a water treatment plant.  The plant is drawing raw water from the river at a rate of  8  m3/sec . The bar width is 20 mm and the bar spacing is 70 mm.  If the screen is 30% clogged, calculate the head loss through the screen. Assume Cd = 0.60

Solution

For screens used in shoreline intakes, the velocity of approach is practically zero.  Thus, from the previous figure, the number of spacings is equal to one more than the number of bars.  Let x number of bars,

20x + 70(x+1) = 5000

Then x = 54.7 = 55

Area of clear opening = 70(55+1)*2000 = 7.48 m2

In this example we choose the orifice equation as a result to the exit of pump in a shoreline intake.

Design examples

Use Kirschmer's equation to find the head loss through a rectangular bar screen used in treatment plant, if the bar width is 15 mm and spacing is 25 mm. Assume that the width of channel (w) equal two tmes of water depth. Use Q = 0.6 m3/s, approach velocity = 0.6 m/s and theta = 60o.

Lecture four

4.1 Types of pumps

Pump is needed to rise the water from a place to other one or more points in the system. For public water supply, pumps may be divided into three types:

- Reciprocating pumps: Consists of a piston or plunger which alternatively draws water into a cylinder on the intake struck and then forces it out on the discharge struck.

- Rotary pumps: Contains two rotary piston or gears which interlock and draw water into the chamber and force it continuously into the discharge pipe.

- Centrifugal pumps: It has an impeller with radial vanes rotating swiftly to draw water into the center and discharge it by centrifugal force. The are most commonly used pumps in water supply system.

4.2 Power and efficiency

The water power required is the net output of the pump and equal to:

…………………….4.1

Where

Pw: Power output of the pump, Kw

K: Constant, K=0.163 (Kw,m3/min,m)

TDH: Total dynamic head, m

Q: The flow rate, m3/min

Power input to the pump equal to:

……………………………….4.2

Where Ep Pump efficiency

4.3 Total dynamic head (TDH)

Total dynamic head can be calculated by:

…………….4.3

4.3.1 Static head (hstat)

It is a difference in elevations of free water surface at discharge and suction reservoirs of the pumps. Static head (hstat) equal to:

( for lift suction head, fig (4.1 a)

( for flooded suction head, fig (4.1 b)

Fig (4.1) Determine of pump total static head

- Lift suction head

- Flooded suction head

Where

hd: Static discharge head (difference in elevation between discharge liquid level and the centerline of the pump impeller).

hs: Static suction head (difference in elevation between the suction liquid level and the centerline of the pump impeller).

4.3.2 Head losses in pipes (hl)

Head losses equal to the summation of friction head loss in discharge and suction pipes. It can be calculated from Darcy-Weisbach formula:

……………………4.4

Where

F. Friction factor, it can be found by mody diagram (table 4.1) by using e/D and Reynolds number. e is q constqnt depends on the pipe type.

v: Velocity in the pipe, m/s

D: Pipe diameter, m

L: Pipe length, m

Table (4.1) Mody diagram

4.3.3 Minor losses (hm)

Due to the entrance, exit, change in direction of discharge and suction pipes.

…………………..4.5

Where

k: Constant depends on valves, fitting, etc.

4.3.4 Velocity head (hv)

Can be calculated from the following equation:

………………………4.6

4.4 Characteristic curves for centrifugal pump

4.4.1 Pump head-discharge curve

The head developed by a particular pump at various rates of discharge at a constant impeller speed is established by pump tests conducted by the manufacturer. The head gives is the discharge pressure with the inlet static water level at the elevation of the pump centerline and excluding losses in suction and discharge pipes. Consider the test arrangment illustrated schematically in fig (4.2) where the discharge is controlled by a valve.

Fig (4.2) Schematic of a pump head discharge curve

The discharge pressure is measured by a gauge and the rate of discharge is recorded by flow meter. The power input is measured and efficiency determine. With the valve in the discharge pipe is closed, the rotating impeller simply churns in the water causing the pressure at the outlet of the pump to rise to a value referred to the shut off head. As the valve is gradually opened allowing increasing water flow, the pump head decreases as drown in fig (4.3). The pump efficiency rises with increasing rate of discharge to an optimum value and then decreases. The flow rate at peak efficiency is determined by pump design and the rotational speed of the impeller.

Fig (4.3) Characteristic curves for centrifugal pump

4.4.2 System head curve

When a pump lifts water from a reservoir into a piping system, the resistance to flow at various rates of discharge is described by a system head curvem fig (4.4). The two components of discharge resistance are the static head and the friction head loss that increases with pumping rate.

Fig (4.4) System head curve

4.5 Net positive suction head (NPSH)

It is the force available to drive the flow into the pump. Two values of NPSH are important in pump selection, these are NPSH reauired (NPSHreq) and NPSH available (NPSHav). NPSHreq is a function of the pump design and varies with flow, speed and pump details. NPSHav equal to:

…………..4.7

habs: Absolute pressure on the surface of the water in the suction reservoir (usually atmospheric pressure), m or Kpa

hs: Suction head at the pump suction. It is positive under flooded suction condition and negative under suction lift condition. M or Kpa

hl: Head loss due to friction, entrance, valve, etc, m or Kpa

hvp: Vapor pressure of fluid at the operating temperature, m or Kpa.

Atmospheric pressure can be calculated from the following equations:

(Kpa)

(m)

The barometric pressure (hb) is q function to the altitude of the pump. It can be calculated from the following table:

Table (4.2) Standard barometric pressure

And the following table used to calculate the vapor pressure.

Table (4.3) Standard vapor pressure of water

4.6 Cavitation

If the NPSHav drops below that of required by the pumps design, the pressure within the impeller may be reduced to the vapor pressure of the fluidm fig (4.5). If this occurs, the water will vaporize and a mixture of vapor and water will enter the pump. Cavitation reduces pump capacity and efficiency and can damage the pump.

Fig (4.5) Understanding of the cavitation

Cavitation can be corrected by:

- Increase the diameter of the pump suction pipe.

- Decrease the pump speed.

- Increase the static head on suction side.

- Decrease of flow rate.

4.7 Effects of speed and diameter of impeller on centrifugal pump

The rotational speed of an Impeller affects the operating characteristics of the pump. Equations 4.8 - 4.10 give the relationship of pump discharge, head and power output with rotational speed:

……………..4.8

………..4.9

…………..4.10

Where

N1, N2: rotational speed of the pump, rpm

Q1, Q2: discharge corresponding N1, N2

TDH1, TDH2: total dynamic head corresponding N1, N2

Equations 4.11 – 4.13 give the relationship of pump discharge, head and power output with impeller diameter:

…………….4.11

……….4.12

....................4.13

4.8 Pumping stations

In general, pumping station can be classified as wet-pit or dry-pit. These classifications are based on the location of the pumps relative to the wet well or dry pit.

In wit-pit pumping stations, the pumps are located in the wet well as illustrated in fig (4.6 a). In dry-pit pumping stations, pumps are located in a dry enclosure separated from the wet well, as shown in fig (4.6 b).

Fig (4.6) Types of pumping stations

- Wit-pit pumping station

- Dry-pit pumping stations

Example

Determine the water power, pump power, and motor laod for a pump system designed to diliver 1.89 m3/min against a total system head of 50 m. Assume the efficiency of both pump and motor is 80 percent.

Solution

Steel book,page 157

Example

Assume that a water pumping station at 500 m elevation uses pumps which reauire 30 kpa positive suction head (NPSH) when delivering water at 30oC. What is the allowable suction lift of these pumps if the entrance and friction losses are 15 kpa?

Solution

Steel book, page 163 (we must change the units from kpa to meter by divided to 9.81).

Lecture five

5.1 Suspended solids

Solids suspended in water include sand, soil, organic materials, bacteria, virus and other. Typical size variations of particulates found in surface water are list in table (5.1). A suspension of particles that will not settled is known as a stable suspension. The particles that make up these suspension are known as colloids.

Table (5.1) Particle size found in water treatement

| Material | Particle diameter (Micro- |
| --- | --- |
| Viruses | 0.005 – 0.01 |
| Bacteria | 0.3 – 3 |
| Small colloids | 0.001 – 0.1 |
| Large colloids | 0.1 – 1 |
| Soil | 1 – 100 |
| Sand | 500 |
| Floc pqrticle | 100 – 2000 |

5.2 Characteristics of Colloids

The principal phenomena that control the behaviour of the colloids are zeta potential (electrostatic force), Vander Walls forces and Brownian motion. The amount of coagulant to be added to the water will depend on the zeta potential, a measurement of the magnitude of electrical charge surrounding the colloidal particles. The zeta potential is the amount of repulsive force or electric charge, which keeps the particles in the water. If the zeta potential is large, then more coagulants will be needed. Van der Waal’s forces refer to the tendency of particles in nature to attract each other weakly if they have no charge. Once the particles in water are not repelling each other, van der Waal’ s forces make the particles drift toward each other and join together into a group. Colloids have a sufficiently small mass that collusions with molecular size particles in water will cause constant movement of the colloids. The phenomenon of constant random movement of colloids is known as Brownian motion. The combination of positive and negative charge, results in a neutral, or lack of charge. As a result, the particles no longer repel each other. When enough particles have joined together, they become floc and will settle out of the water.

5.3 Theory of coagulation

Coagulation is a water treatment process that causes very small suspended particles to attract to one another and form larger particles. Then the coagulation process transfers the stable colloids particles to destabilized colloids particles by adding coagulants, as shown in fig (5.1).

Fig (5.1) Schematic representation of destabilization of colloids

5.4 Chemicals Used for Coagulation

Coagulant reactions are carried out by the addition of coagulant, usually a metal salt to water. Commonly used coagulants are aluminum sulfate (alum), ferric sulfate Fe2(SO4)3 and ferric chloride FeCl3.

5.4.1 Use of Aluminum Sulfate (Alum)

Aluminum Sulfate is obtainable either as liquid alum or in the form of lumps. Also, it is the most widely used in drinking water. It is easily handled and costly agent.

When aluminum sulfate is added to water that contains calcium bicarbonate, the following reaction takes place:

Al2(SO4)3.18H2O + 3Ca (HCO3)2      3CaSO4 + 2Al(OH)3 + 6 CO2 + 18H2O 
       666                         3*100                              3*136         2*78                 6*44         18*18

(as CaCO3)

1 mg alum will produce 0.23 mg of insoluble 2Al(OH)3 precipitates and will consume 0.45 mg of alkalinity as CaCO3

5.4.2 Use of Ferric Sulfate

ferric sulfate is applied with relative ease, and it produces a good floc over a rather wide range of pH values. It has a particular advantage where manganese is present in sufficient amounts to require removal. When ferric sulfate is used with lime, the following reaction occurs:

Fe2 (SO4)3 + 3Ca (HCO3)2              2 Fe (OH)3 + 3 CaSO4 + 6CO2

400               3*100                       2*107              3*136     6*44

(as CaCO3)

1 mg of ferric sulfate will produce 0.54 mg of insoluble Fe(OH)3 precipitates and will consume 0.75 mg of alkalinity as CaCO3

5.4.3 Use of Ferric Chloride

2FeCl3 + 3Ca(HCO3)2             2Fe(OH)3 +3CaCl2 +6CO2

2*162.5        3*100                      2*107      3*111     6*44

(as CaCO3)

1 mg of ferric chloride will produce 0.66 mg of insoluble Fe(OH)3 precipitates and will consume 0.92 mg of alkalinity as CaCO3

5.4.4 Use of Polyelectrolytes

The term polyelectrolytes refers to all water-soluble organic polymers used for clarification, whether they function as coagulants or flocculants.

Water-soluble polymers may be classified as follows:

- anionic-ionize in water solution to form negatively charged sites along the polymer chain

- cationic-ionize in water solution to form positively charged sites along the polymer chain

- nonionic-ionize in water solution to form very slight negatively charged sites along the polymer chain

There are many coagulant aid as lime, soda ash, activated silica. Other chemical used in coagulation as sulfuric Acid, H2 SO4, is used infrequently to acidify waters prior to treatment. Sodium Hydroxide, NaOH, which is also known as caustic soda, is an effective alkali. Also, when used to produce alkalinity, it does not increase the hardness of the water.

Sodium silicates, consisting of sodium oxide, Na2O, and silica, SiO2, in various proportions, are use in conjunction with aluminum sulfate to produce large floc particles. In the so-called high-rate upward-flow clarifiers, such large particles are expecially desirable after being compacted and agglomerated by slow agitation.

5.5 Coagulant dosage

Although there is some relation between turbidity of the raw water and the coagulant dosage, the exact quantity can be determined only by trial. Even thus determined amount will vary with other factors such as time of mixing and water temperature. The use of minimum quantity of coagulant to be effective in producing good flocculation in any given water, will usually require a fairly long stirring varying from 15 to 30 minutes in summer and 30 to 60 minutes in the colder months. Water of low turbidity with very finely divided suspended matter is more difficult to coagulate than water with high turbidity and coarse particles, necessitating a larger quantity of coagulant.

Jar Test

The coagulant dose in the water treatment should be judiciously controlled based on the results of jar test as the turbidity level is continuously changing. The jar test apparatus is shown below, fig (5.2)

Fig (5.2) Jar test apparatus

Procedure for jar test

Analyze the collected natural surface water for pH, turbidity, and alkalinity. Record both the water temperature at time of test and ambient air temperature. Place water samples in one litre beakers on the six-jar laboratory stirrer and check stirrer operation. At the start of a one minute rapid mix at 100 rpm, add coagulant solutions at 10, 20, 30, 40, and 50 mg/L respectively to each of 5 beakers and use one beaker as a control Fig. 12.2 Jar Test appratus (i.e., no coagulant added).

Flocculate at slow mix at 15 rpm for 20 minutes. Record the elapsed time before a visible floc is formed. If large flocs are formed, it may be desirable to reduce the paddle speed. Note the size and appearance of the floc formed. After flocculation, remove the paddles and allow for a settling period of 30 minutes or wait until most of the floc is removed from suspension.

Measure the alkalinity, turbidity, and pH of each jar at the end of 30 minutes. Select the optimum dosage on the basis of supernatant clarity and settleability of floc with secondary considerations to cost and sludge production.

5.6 Rapid mix

Rapid mixers should provide sufficient agitation to disperse the coagulant in raw water. Rapid mixing units can be classified according to the method of agitation mechanical or static. A mechanically agitated rapid mixer utilizes a mechanical mixer with an impeller or propeller to create turbulence in the mixing chamber. Examples of impellers and propellers used in water treatment are shown in fig (5.3). Fig (5.4) shows the mechanical radial flow.

Normally, the ratio between turbine diameter and the width of mixing tank range from 2 to 3, also the ratio between turbine diameter and the distance between the radial impeller and the bottom of the mixing tank equal to 1.

Fig (5.3) Types of impeller

For static rapid mixing, arrangements are used such as channels or chambers with baffles producing turbulent flow conditions, overflow weirs, and hydraulic jumps (fig 5.5, 5.6, 5.7).

Fig (5.4) Mechanical rapid mixer

Fig (5.5) Baffled channel for rapid mixing (not very effective)

Fig (5.6) Overflow weir

Fig (5.7) Hydraulic jump

Traditionally, in water treatment plants, the degree of agitation in a mixing unit is measured by velocity gradient. His value is given by:

………………….5.1

Where

G = velocity gradient, s-1

P = power input, Watt

V = volume of water in mixing tank, m3

( = dynamic viscosity, Pa•s

Some design criteria for rapid mix shown below:

G:     700 <G <1000 s-1

D.T:   60 to 120 s

GT: 30000 to 60000 (D.T = GT / G)

Tho e power imparted to the water by a mixer is calculated from:

……………………5.2

Where n: impeller speed, rps     T: impeller shaft torque, N.m

Other expressions for the power imparted to the water are given by:

…………………………5.3

………………………….5.4

Where

Np: power number of the impeller  d: impeller diameter, m

Radial flow

Straight blade turbine

4 blade (w/d=0.15)( Np=2.6      w/d: blade width to diameter ratio

4 blade (w/d=0.2) ( Np=3.3

Disc turbine

4 blade (w/d=0.25)( Np=5.1

6 blade (w/d=0.25)( Np=6.2

Axial flow

Propeller 1:1 pitch ( Np=0.3

Propeller 1.5:1 pitch ( Np=0.7

45o pitched blade

4 blade (w/d=0.15)( Np=1.36    4 blade (w/d=0.25)( Np=1.94

Equation 5.3 is used for the laminar flow and eq (5.4) is used for turbulent.

5.7 Flocculation

Flocculation is the process of gentle and continuous stirring of coagulated water for the purpose of forming flocs through the aggregation of the minute particles present in the water. It is thus the conditioning of water to form flocs that can be readily removed by settling, dissolved air flotation or filtration, fig (5.8). The efficiency of the flocculation process is largely determined by the number of collisions between the minute coagulated particles per unit of time.

Fig (5.8) Schematic representation of flocculation process

There are mechanical and hydraulic flocculators. In mechanical flocculators the stirring of the water is achieved with devices such as paddles, paddle reels or rakes, as shown in fig (5.8).

Fig (5.8) Mechanical flocculators

These devices can be fitted to a vertical or horizon-tal shaft. Vertical shaft flocculators are usually placed in a square tank with several chambers (four or more). With horizontal shaft flocculators having a traverse flow, one should provide at least four rows of shafts, with partitions of baffles, so as to avoid short-circuiting.

The hydraulic flocculators utilize horizontal or vertical hydraulic baffled channel as shown in fig (5.9). They are rarely used in large size of water treatment plant. Because of their sensitivity to flow changes.

Fig (5.9) Hydraulic flocculators

5.7.1 Agitation requirement

The detention time in the flocculation tank is higher than that in rapid mixing tank. Detention time from 20 to 30 min. Typical velocity gradient G for flocculators range from 25 to 65 s-1. The velocity gradient can be obtained by using eq (5.1). In the case of paddle wheel mixers (horizontal), the water power is given by:

……………..5.2

Where

p: power imparted to water, watt

Cd: drag coefficient, which varies with the length to width ratio of the paddle blades. (L/W = 5)(Cd = 1.2

(L/W = 20)(Cd = 1.5

A: area of the paddles, m2

v: velocity of the paddle relative to the water, m/s

The velocity of the paddle relative to the water is 75% of the absolute peripheral velocity of the paddle.

………………..5.3

Where

n: rotational speed of the blades, rps

d: diameter from center to center of each paddle blade, m

The key design factor in flocculation tank is the value of GT (G*D.T) because the number of particles collisions within the tank is directly proportional to the value of GT. Typical value between 10000 and 150000.

يوجد امثلة في محاضرات ايمان

Design of rapid mix and flocculation tanks

Flow rate = 113500 m3/day

- Rapid mix: Number of tanks = 4

Number of stage = 1

D.T = 30 sec

G = 950 s-1

2. Flocculation tank: Number of tanks = 4

Number of stage = 3

D.T = 30 min total, 10 min for each stage

G = 60 s-1 (for first stage)

G = 30 s-1 (for second stage)

G = 10 s-1 (for third stage)

Solution

Rapid mix tank design

Flow rate for each tank = 113500 / 4 = 28375 m3/day = 0.328 m3/sec

Volume for each tank = 0.328 * 30 = 9.84 m3

Use square tank with depth to width ratio = 1.5 (by experience this ratio is very good)

Vol = w *L*d = w *w*1.5w = 1.5w3

9.84 = 1.5w3  w = 1.9 m = L, depth = 1.5*1.9 = 2.85 m

Then we have 4 tanks with dimension 1.9*1.9*2.9 m and volume = 10.5m3

= 9502 * 10.5 * 1.03*10-3 = 9.7 kw

= 9.7 / 0.9 = 10.8 kw

Use turbine diameter = 0.5 * width of the tank

Dia = 0.5 * 1.9 = 0.95 m (fig 1)

Use w/d = 0.16, then width of impeller (w) =0.15m and Np = 2.75 (by interpolation).

1000*9.7 = 2.75*1000*n3*0.955 n = 1.65 rps = 100 rpm

> 10000 OK

Fig (1) Rapid mix tank

Head loss through influent pipe

Let pipe diameter = 60 cm

Velocity = m Kentrance=0.5, Kelbow 90=0.3, Kexit=1

hm= (0.5+0.3+1)*1.162/2g = 0.12m

Head loss over effluent weir

h = 0.1m

Design flocculation tank

Volume = Q*D.T= 0.328 m3/s* (30*60)sec = 590 m3

Volume of each stage of the tank = 590 / 3 = 197 m3

Width of flocculation tank equal to the width of sedimentation tank, then in this example use w = 18.4 m, length of each stage = depth

Vol = 18.4*d*d 197 = 18.4*d2 d = 3.27 m use 3.3 m

Vol = 18.4* 3.32 =199 m3

The water flows from one stage to the other through a baffle wall. Total length of three stage = 3.3*3 = 10 m, fig (2)

Volume of each tank = 18.4 *10*3.3 m3

Fig (2) Flocculation tank

Flocculator power requirement

G1 stage = 60 s-1, volume of each stage = 199 m3

P1 stage = 602*199*(1.03*10-3) = 0.737 kw

Pm=P/(Em*Ebearings)= 0.737/(0.9*0.7) = 1.16 kw

P2 stage= 302*199*(1.03*10-3) = 0.184 kw

Pm=0.184 /(0.9*0.7) = 0.29 kw

P3 stage= 152*199*(1.03*10-3) = 0.046 kw

Pm=0.046 /(0.9*0.7) = 0.073 kw

Size and number of paddle

- Each segment =3.2 m long

- Paddle wheel diameter = 85% of water depth

paddle diameter = 0.85*3.3 = 2.9, see fig (2)

Each stage of flocculation tank is provided with 5 segments and each segment has a 12 paddle bmades. Each paddle blade is 20 cm wide and 3.2 m long. Th espace between two blades is 15 cm, as shown in fig (3).

Fig (3) Paddle blades for one segment

Calculate flocculator speed requirement

For paddles are placed at each location (see fig 4), 2.7 m (2.9 – 0.2), 2 m (2.7- (0.1*2 - 0.15*2)), 1.3 m center to center. Therefore, the rotational speed is calculated by:

Fig (4) location of each paddle blades

A1, A2 and A3: area of paddles at each location.

v1, v2 and v3: velocity of each paddle blade relative to the water.

A1 = A2 = A3 = 5 segments per stage * 4 paddle blades at each location per segment * 3.2 m * 0.2 m = 12.8 m2

To find Cd, we must calculate L/w = 3.2 / 0.2 = 16

Cd = 1.35 (by interpolation)

nabs = 0.06 rps (for first stage)

nabs = 0.038 rps (for second stage)

nabs = 0.023 rps (for third stage)

Effluent structure (diffusion wall)

The diffusion wall separating flocculation and sedimentation tanks is of concrete, with circular ports. Diffusion wall is used to distribute the flow into the sedimentation tank and consequently to prevent floc breakup.

Let velocity through the port = 0.15 m/sec (to prevent floc breakup)

A = Q/v = 0.328 / 0.15 = 2.187 m2

If diameter of port = 12.5 cm

area of each port = m2

Number of ports = 2.187 / 0.0123 = 178 provide in four rows (see fig 5)

Fig (5) Diffusion wall

The head losses through the diffusion wall is very small and can be neglected.

Lecture six

6.1 Configuration of sedimentation tank

Sedimentation is a treatment process in which the velocity of the water is lowered below the suspension velocity and the suspended particles settle out of the water due to gravity.  The process is also known as settling or clarification.

Three common types of sedimentation basins are shown below:

|  | Rectangular basins are the simplest design, allowing water to flow horizontally through a long tank. This type of basin is usually found in large-scale water treatment plants. Rectangular basins have a variety of advantages - predictability, cost-effectiveness, and low maintenance. In addition, rectangular basins are the least likely to short-circuit, especially if the length is at least twice the width. A disadvantage of rectangular basins is the large amount of land area required. |
| --- | --- |
|  | Double-deck rectangular basins are essentially two rectangular sedimentation basins stacked one a top the other. This type of basin conserves land area, but has higher operation and maintenance costs than a one-level rectangular basin. |
|  | Square or circular sedimentation basins with horizontal flow are often known as clarifiers. This type of basin is likely to have short-circuiting problems. |

6.2 Zones of sedimentation tank

All sedimentation basins have four zones - the inlet zone, the settling zone, the sludge zone, and the outlet zone, as shown in fig (6.1).

Fig (6.1) Zones of sedimentation tank

6.2.1 Inlet zone

The two primary purposes of the inlet zone of a sedimentation basin are to distribute the water and to control the water velocity as it enters the tank.  In addition, inlet devices act to prevent turbulence of the water.  

The incoming flow in a sedimentation basin must be evenly distributed across the width of the basin to prevent short-circuiting.  Short-circuiting is a problematic circumstance in which water by passes the normal flow path through the tank and reaches the outlet in less than the normal detention time.

Two types of inlets are shown below, fig (6.2).  The stilling wall, also known as a perforated baffle wall, spans the entire tank from top to bottom and from side to side.  Water leaves the inlet and enters the settling zone of the sedimentation basin by flowing through the holes evenly spaced across the stilling wall.

Fig (6.2) Types of inlet zone

The second type of inlet allows water to enter the tank by first flowing through the holes evenly spaced across the bottom of the channel and then by flowing under the baffle in front of the channel.  The combination of channel and baffle serves to evenly distribute the incoming water.

6.2.2 Settling zone

After passing through the inlet zone, water enters the settling zone where water velocity is greatly reduced.  This is where the bulk of floc settling occurs and this zone will make up the largest volume of the sedimentation tank.  For optimal performance, the settling zone requires a slow, even flow of water.

The settling zone may be simply a large expanse of open water.  But in some cases, tube settlers and lamella plates, such as those shown in fig (5.3), are included in the settling zone.

Fig (6.3) Tube settlers and lamella plates

6.2.3 Outlet zone

The outlet zone controls the water flow out of the sedimentation. Like the inlet zone, the outlet zone is designed to prevent short-circuiting of water in the basin.  In addition, a good outlet will ensure that only well settled water leaves the tank. The outlet can also be used to control the water level in the basin. Outlets are designed to ensure that the water flow out of the sedimentation tank has the minimum amount of floc suspended in it.  The best quality water is usually found at the very top of the sedimentation basin, so outlets are usually designed to skim this water off the sedimentation tank. A typical outlet zone begins with a baffle in front of the effluent.  This baffle prevents floating material from escaping the sedimentation tank. After the baffle comes the effluent structure, which usually consists of a launder, weirs, and effluent piping.  A typical effluent structure is shown in fig (6.4)

Fig (6.4) typical effluent structure

The primary component of the effluent structure is the effluent launder, a trough which collects the water flowing out of the sedimentation tank and directs it to the effluent piping.  The sides of a launder typically have weirs attached.  Weirs are walls preventing water from flowing uncontrolled into the launder.   The weirs serve to skim the water evenly off the tank. A weir usually has notches, holes, or slits along its length.  These holes allow water to flow into the weir.  The most common type of hole is the V-shaped notch shown on the picture above which allows only the top inch or so of water to flow out of the sedimentation basin.  Conversely, the weir may have slits cut vertically along its length, an arrangement which allows for more variation of operational water level in the sedimentation basin. Water flows over or through the holes in the weirs and into the launder.  Then the launder channels the water to the outlet, or effluent, pipe.  This pipe carries water away from the sedimentation tank and to the next step in the treatment process. The effluent structure may be located at the end of a rectangular sedimentation tank or around the edges of a circular clarifier.  Alternatively, the effluent may consist of finger weirs, an arrangement of launders which extend out into the settling tank as shown in fig (6.5).

Fig (6.5) Finger weirs

6.2.4 Sludge zone

The sludge zone is found across the bottom of the sedimentation basin where the sludge collects temporarily.  Velocity in this zone should be very slow to prevent resuspension of sludge. A drain at the bottom of the tank allows the sludge to be easily removed from the tank.  The tank bottom should slope toward the drains to further facilitate sludge removal.

6.3 Types of Settling

Type I: Discrete particle settling - Particles settle individually without interaction with neighboring particles.

Type II: Flocculent Particles – Flocculation causes the particles to increase in mass and settle at a faster rate.

Type III: Hindered or Zone settling –The mass of particles tends to settle as a unit with individual particles remaining in fixed positions with respect to each other.

6.4 Sedimentation of discrete particles

To show the steps of the solution concerning the sedimentation tank, we will take a rectangular tank, as shown in fig (6.6). From this figure it can be shown that we have two phases. The first is the top view (surface view) and his area equal to:

The second phase is the side view and his area equal to:

Fig (6.6) Rectangular sedimentation tank

6.5 Terminology of sedimentation tank

In this section we will discuss the important parameters control the design of a sedimentation tank.

6.5.1 Surface over flow rate (SOR)

When the water contained colloidal particles enters the tank, the tank will be closed from 2 hr to 4 hr and then the water start to move up. This velocity is called SOR:

6.5.2 Horizontal velocity

From fig (6.6), we find that the side view is responsible to calculate the horizontal velocity:

6.5.3 Settling velocity

This velocity refers to the velocity of particles towards the bottom of the tank. Settling velocity can be calculated from Newton's law:

In practice, it is found that CD is a function of the Reynolds Number, Re, and, for spherical particles, it can be represented by the following expressions

Re < 0.5 (laminar flow),

0.5 < Re < 103,

103 < Re, CD ( 0.44

Where  Re = (wvsdp/(

For laminar flow (Re < 0.5)  Newton's law yields another equation which called Stoke’s Law:

Where

: Desnsity of particle

: Density of water

: Particle diameter

6.5.4 Scour velocity

It is a horizontal velocity that will cause the resuspend of the settled particles. The horizontal velocity just sufficient to cause scour has been defined as:

Where

Vscour: Scour velocity

S: Specific gravity of the particles

dp: Particle diameter

: Constant ranges 0.04 - 0.06

f: Darcy-Weisbach friction factor, 0.02 – 0.03

Vh<Vscour

6.5.5 Detention time

It is the time required for the particle to settle. D.T is very important to find the volume of the tank. It is equal to:

or

6.5.6 Percentage removal

As we know, SOR is the water velocity towards up (water surface in the tank), and the settling velocity is the velocity towards dawn (the bottom of the tank).

SOR

Vs

Know, if SOR>Vs the water will exit from the tank before arrival of all particles to the bottom of the tank (sludge zone), here the partial removal is occurred and his value is called percentage removal.

Percentage removal = (Vs/SOR)100

If VsSOR, all suspended particles will be removed before the water exits from the tank, here complete percentage removal is occurred (100%).

When we want to design the sedimentation tank, we carried out that Vs= SOR

6.5.7 Mass of sludge

Sludge is the particles collected in the bottom of the tank.

Sludge concentration = influent Concentration  percentage removal

Cm = Ci  percentage removal

Ce = Ci - Cm

Mass of dry sludge = Cm  flow rate (Q)

For example, if Q = 480 m3/day

Cm=150 mg/l

Then the mass dry sludge = (150 1000) mg/m3  480 m3/day = 72 kg/day

Mass of wet sludge = Mass of dry sludge / percentage of solid

Wet sludge volume = WLhs = Mass of wet sludge / sludge density

Where hs is height of sludge

6.5.8 Efficiency of the tank

% E =

% E =

An ideal sedimentation tank exhibits the following characteristics which are commonly used to describe the settling behavior of discrete particles:

- The flow through the tank is distributed across the cross section of the tank.

- The particles are dispersed in water.

- The settling of the particles is predominantly of type I

- Sedimentation tank is divided into four distinct zones: inlet, settling, sludge and outlet zones.

Parameter	Design value

Surface loading rate (m3/m2.d) 	20-60

Mean horizontal velocity (m/min)	0.15-0.90

Water depth (m)	3-5

Detention time (min)	120-240

Weir loading rate (m3/m-d)	100-250

Example

Water contains particles with 0.5 mm diameter and specific density of 2.65 kg/m3. If water density = 998.2 kg/m3 qnd viscosity = 1.002*10-3 N.s/m2. Find the settling velocity and the diameter of the circular tank, if the flow rate = 0.5 m3/s, and D.T = 2 hr, use two tanks.

Solution

Mo'yad Fakir page 160

Example

Raw water (Q=5450 m3/s) pass through the sedimentation rectangular tank with the width equal to 6 m. The particles density equal to 2000 kg/ m3 and kinetic viscosity of water equal to 1.14*10-6 m2/s. Drive the equation between the diameter of particles and the length of the tank required, and draw the curve?

Mo'yad Fakir page 170

Example

A rectangular sedimentation tank with W=25m, L=50m and h=3m. The flow rate = 1500 m3/s, and the influent particles concentration = 2000mg/l. The following table shows the percentage of particles as a function of his diameter:

| Volume of particle (mm) | % |
| --- | --- |
| 0.001 | 10 |
| 0.005 | 20 |
| 0.01 | 15 |
| 0.015 | 15 |
| 0.02 | 20 |
| 0,025 | 20 |

Find:

- Settling velocity, if particles density = 2650 kg/ m3 and viscosity of water = 1.002*10-3N.s/m2

- Percentage removal for each particle and total percentage removal

- Sludge depth, if the tank is cleaned one time per month. If percentage of solide = 8% and sludge density = 1150 kg/ m3

- Effluent concentration particles

Solution

Mo'yad Fakir page 172

Example

Q= 1000 m3/s

Dp= 0.06 mm

= 1.2

Vscour=Vh/70%, find L,W,h if L=4W

Solution

Hassan Hashim

6.6 Fraction of particles removal

The sedimentation tank is designed so that all particles having a settling velocity greater or equal SOR are fully removal. Particles having a settling velocity (vi) smaller than the SOR are partial removalm fig (6.7). The velocity vi is expressed by:

Fig (6.7) Settling behavior of discrete particles

In a typical river water suspension sample, a large gradation of particles size occurs. To determine the removal efficiency at a given settling time, it is necessary to consider the entire range of particles settling velocities and the fraction that are removed. Therefore the total removal efficiency of a settling tank can be determined by 1) a batch settling test or 2) a sieve analysis.

The batch settling test emplys a settling column, as shown in fig (6.8). The test sample is placed in the column and samples are taken at timed intervals, usually each 30 to 60 sec for 5 min and then every 1 to 2 min for the remainder of the test. The test is continue from 30 min to 2 hr. The weight of suspended solids is measured for each sample and expressed as a fraction of solids remaining.

Fig (6.8) Standard settling column used for discrete settling test

The sieve analysis technique requires a sample of dry solids that constitute the suspension to be removed in the tank. With either method, a settling velocity analysis curve is developed as shown in fig (6.9). The total solids removal efficiency is then determined by graphically integrating the area under the curve. The fraction of all particles removed will be:

Fig (6.9) Cumulative distribution of particle settling velocity

Example:

Given: A settling basin is designed to have a surface overflow rate of 32.6 m/day = .37mm/s (800gpd/ft2).

Find: The overall removal obtained for a suspension with the size distribution given below. The specific gravity of the particles is 1.2 and T=20(C. (=1.027, (=0.9997

| Particle size, mm | 0.10 | 0.08 | 0.07 | 0.06 | 0.04 | 0.02 | 0.01 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Weight fraction greater than size, percent | 10 | 15 | 40 40% of the particles > .07 | 70 | 93 | 99 | 100 100% of the particles > .01 |
| Weight fraction less than size, percent | 90 90% of the particles pass the .10 sieve | 85 | 60 | 30 | 7 7% of the particles pass the .04 sieve | 1 | 0 |

Sample calculations for the table below:

v, Stokes Law:

=

v = 107.62d2

for d=.10mm

v = 107.62(.10) 2

v=1.076 say 1.08

for d=.04

v = 107.62(.04) 2

v=.172

Reynolds number, if the Re < .5, Stokes Law applies.

Re = (wvsdp/(,  = (.10mm x 1.08mm/s)  / 1.011x10-6m/s x (1000mm/m)2

Re =.10

| Weight fraction, % | 10.0 | 15.0 | 40.0 | 70.0 | 93.0 | 99.0 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| v, mm/s, from above calc. | 1.08 | 0.689 | 0.527 | 0.387 | 0.172 | 0.043 | 0.011 |
| Nr, | .10 | 0.05 | 0.04 | 0.02 | 0.01 | 0.001 | 0.0001 |
| Weight fraction remaining % | 90.0 | 85.0 | 60.0 | 30.0 | 7.0 | 1.0 | 0 |

Plot the above vs. weight fraction remaining , e.g. 1.08, 90.0; 0.689,85 etc.

All particles with a settling velocity greater than .37mm/s will be 100% removed. From the graph, the fraction (1-Xs)  is equal to 0.73 or 73%; a portion of the remaining 27% will be removed, graphically this is the area above the settling curve, but below the Xs line. One way to obtain this desire area is to assume increments of (x, say 0.04, and pick off the corresponding v, velocity, from the graph. The resulting product (x(v) is the area for that increment. The increments are then summed to obtain the total area.

| (x | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | .027 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| v | 0.06 | 0.16 | 0.22 | 0.26 | 0.30 | 0.34 | 0.37 |
| (x(v) | 0.0024 | 0.0064 | 0.0088 | 0.0104 | 0.0120 | 0.0136 | .0099 |

Total  (x(v) = .0635

The overall removal is:

fraction removed = (1-Xs) +

fraction removed = 0.73 + 1/.37(0.0635)

fraction removed = .898 = 89.9%

6.7 Flocculent Suspension

Settling initially starts as Type I (discrete), but the particles coalesce (flocculate) during settling.

Flocculation leads to a change in size, shape and weight as they settle      Vs changes with time.

Paths of the particles are curved (not linear as in discrete settling).

We Can perform batch tests to obtain the data required to size primary sedimentation basins where flocculation is occurring.

Use a batch settling column with a height equal to the depth of the clarifier that is to be designed.

Fig (6.10) Flocculent column used for flocculent suspension

Example

Using the sample data provided, estimate the percentage removal of solids in an ideal basin with a depth of 1.8 m and a residence time of 50 min.

|  | Percentage Removal |
| --- | --- |
| Settling Time | 0.6 m | 1.2 m | 1.8 m |
| 10 | 22 | 14 | 12 |
| 20 | 37 | 29 | 26 |
| 30 | 49 | 38 | 36 |
| 40 | 58 | 49 | 43 |
| 60 | 71 | 60 | 55 |
| 80 | 74 | 68 | 63 |

Solution

Step 1: Plot the data

Step 2: Draw the Constant Percent Removal Lines

Step 3: Calculate the Total Percent Removal

Particles with a settling velocity less than SOR will be removed in a ratio of (h/H). The total percent solids removal (R) for flocculating particles in a column of height H at a specified SOR.

Total removed = 31 + 13 + 19.8 = 64%

5.8 Hindered or settling Zone

Hindered settling is a term used in sedimentation to describe settling of large numbers of particles that are settling as "a mass," often interfering with each others settling, rather than settling "unhindered" as individual, discrete particles. This phenomenon may also manifest itself when all of the settled particles come together at the bottom of the tank prior to being incorporated into the sludge zone (may also be called the compression zone).  While this condition appears to be more prevalent in wastewater treatment secondary sedimentation, it is worthy to note in potable water treatment where large amounts of flocculated algae, etc., may be involved.

5.9 Design consideration

Surface loading rates are used to calculate surface area requirements of a sedimentation tank.

Detention time is used in conjunction with the surface loading rate to calculate the volume and side water depth of the sedimentation tank.

Inlet zone or influent structure the inlet zone distributes the flow across the sedimentation tank and dissipates incoming velocity. To achieve these two function perforated wall is provided as shown in fig (6.11). Rectangular tank is constructed to be integral with flocculation tank. A diffusion wall separates the two tanks and serves as the sedimentation tank inlet. The influent structure in circular tank is provided as a part of the sludge collection equipment and generally are designed by the equipment supplier.

Outlet zone or effluent structure traditionally overflow weirs and launder troughs have been used for outlet control in a sedimentation tank. Either V-notch or submerged orifice weir plates are commonly used. The length of weir required is determined by the weir overflow rate or weir loading rate. Typical launder trough for rectangular, square and circular sedimentation tank are illustrated in fig ( 6.12).

Fig (6.11) Inlet and outlet structure

Fig (6.12) Typical launder trough

Sedimentation tank design

Exemple:

Number of tank = 4

Maximum discharge = 113500 m3/day

Length to width ratio = 2 to 3

Surface loading rate = 35 m3/m2.day

Weir loading rate = 250 m3/m.day

Solution

1- Dimensions of the tank

Q = 113500/4 = 28375 m3/day = 0.328 m3/s for each tank

A = Q/SOR = 28375/ 35 = 810 m2

If, W = 18.5 m then L = 810/18.5 = 43.7 = 44 m

L/W ration = 44/18.5 = 2.3 this ratio within the range

Deth (h) = SOR* D.T = 35m/day*1/24  day/hr*4 hr = 5.8 m

Then the sedimentation tank dimension is 44*18.5*5.8 m3

Fig (1) shows the sedimentation tank with effluent and settling zones

2- Influent structure design

The detail influent structure design is provided in lecture five as effluent flocculation tank. The head loss at the diffusion wall between the flocculation and sedimentation tanks is very small and can be neglected.

3- Effluent structure design

A) Weir length

Weir length required = Q/wier loading = 28375/250 = 113.5 m

Take 8 launder troughs (width = 0.5m) with a center effluent collection channel. Each trough is 8.5m (depends on the width of the tank).

Actual weir length = 2 troughs *8.5m* 1 side per trough + 6 troughs *8.5m* 2 side per trough = 119m >113.5 m

Fig (2) shows the effluent collection system

Fig (1) Sedimentation tank

Fig (2) Effluent collection system

B) Total number of V- notches

Use 90o V-notches weirs.

Provide 9 notches per 2 m long weir plate and 4 plates on each side of each 8.5 m trough, as shown in fig (3).

Notch shall be 7.5 cm deep and spaced at 20 cm.

Fig (4) effluent launder with weir

Total number of notches in each tank = 2 troughs *1 side per trough * 4 plates pers ide * 9 notches per plate + 6 troughs *2 side per trough * 4 plates pers ide * 9 notches per plate = 504 notches

C) Head over the V- notch weirs

Flow rate per notch (q) = 0.328 / 504 notch = 6.52*10-4 m3/s per notch

The head over each notch can be calculated from the following formula:

Where

Cd: coefficient of discharge = 0.6

H: head over notch, m

: angle of V-notch = 90

6.52*10-4 m3/s = (8/15) * 0.6 * (2 * 9.81)0.5 tan (90/2) * H2.5

H = 0.046 m

Then the free board for V-notch = 7.5 – 4.6 = 2.9 cm

D) Head loss through the effluent launder trough

Here we must calculate the water flow rate in each launder trough and calculate water depth at the downstream end of the launder trough and water depth at the upstream end of the launder trough.

The flow rate at the exit point of each effluent launder trough is calculated as:

Q' = q * 2 side per trough * 4 plates pers ide * 9 notches per plate = 6.52*10-4  * 2 *4 *9 = 0.047 m3/s

- Water depth at the downstream end of the launder trough (y2)

, b : launder width

y2 = ((0.047)2/9.81 *(0.5)2)1/3 = 0.096 m

- Water depth at the upstream end of the launder trough (y1)

Where

F: darcy friction factor (0.03-0.12)

r: mean hydraulic radius, m

d: mean depth of channel, m

L: length of launder trough,m

Assume the mean depth in the effluent launder trough (d) = 0.14 m

R = b*d /(2d+b) = 0.14*0.5 / (2*0.14+0.5) = 0.09 m

=0.18m

Then loss through the trough = y1 - y2 = 0.18 - 0.098 = 0.082 m

4- Sludge quantity

The quantity of sludge is estimated by totaling (1) the suspended solids and other constituents removed, (2) the amount of metal hydroxide, (3) the calcium carbonate produced, (4) the amount of coagulant aid.

In this design example, we assume that the following data are applied in coagulation and flocculation processes. All coagulants used will be solid in the sedimentation tank and can be removed.

| Max. turbidity | 17 NTU |
| --- | --- |
| Max. seasonal iron concentration | 0.7 mg/l |
| Max. seasonal manganese concentration | 0.4 mg/l |
| Optimum coagulant, ferric sulfate | 25 mg/l |
| Optimum coagulant aid, cationic polymer | 0.05 mg/l |
| Hydrated lime (Ca(OH)2) for pH adjusment | 15 mg/l |
| Seasonal potassium permanganate (KMnO4) | 4 mg/l |

Production of solids can be calculated as following:

- Solids from raw water:

Quantity = 17 NTU * 1 TSS/NTU * 10-6 kg/mg  * 103 L/m3 * 113500 m3/d = 1930 kg/d

- Solids due to precipitation of iron content:

Quantity = (106.9 g/mol Fe(OH)3/55.9 g/mol Fe) * 0.7 mg Fe/L * 10-6 kg/mg  * 103 L/m3 * 113500 m3/d = 152 kg/d

3) Solids due to precipitation of manganese content:

Quantity = (86.9 g/mol MnOO/54.9 g/mol Mn) * 0.4 mg Mn/L * 10-6 kg/mg  * 103 L/m3 * 113500 m3/d = 72 kg/d

4) Solids due to precipitation of ferric sulfate:

Quantity = (0.54 kg Fe(OH)3/kg Fe2(SO4)3 * 25 g/m3 Fe2(SO4)3 * 10-3 kg/g * 113500 m3/d = 1532 kg/d

5) Solids from the polymer:

Quantity = 1 * 0.05 mg polymer/L * 10-6  kg/mg  * 103 L/m3 * 113500 m3/d = 5.7 kg/d

6) Lime solids during pH adjustment (Assume 20% of Ca(OH)2 precipitates as CaCO3) :

Quantity = 0.2 * (100 g/mol CaCO3/74 g/mol Ca(OH)2) * 15 mg Ca(OH)2/L * 10-6 kg/mg  * 103 L/m3 * 113500 m3/d = 460 kg/d

7)Solids due to precipitation of potassium permanganate content:

Quantity = (86.9 g/mol MnOO/158 g/mol KMnO4) * 4 mg KMnO4/L * 10-6 kg/mg  * 103 L/m3 * 113500 m3/d = 250 kg/d

Now, we can calculate the total solids produced:

Total quantity of solids = 1930+152+72+1532+5.7+460+250 = 4402 kg/day

Note Because of many uncertainties associated with raw water quality, chemical dosages, this value is increased by 20-60%.

Assume that 90% of solids produced are removal from sedimentation tank:

quantity of solids removal = 4402 * 0.9 = 3962 kg/day

Assume that the sludge with 2% solids (then 98% water):

Mass of wet sludge = 3962 / 0.02 = 198100 kg/day

Now, we can used the following equation to find the density of wet sludge:

Where

Mws: Mass of wet sludge

Mds: Mass of dry sludge

Mwt: Mass of water

Let density of dry solids = 2400 kg/m3 and water density = 1000 kg/m3, sub in the previous equation.

kg/m3

Volume of wet sludge = mass of wet sludge / density of wet sludge

= 198100 / 1012 = 196 m3

# Text boxes

Table (3.1) the capability of the various treatment techniques for removing contaminants

System

curve

Friction

head

Static head

Flow

System head

Ci

Ce

Cm

يكون ذو اتجاه واحد لان الاتجاه الاخر هو ملاسق لحائط الخزان ولا يحسب من ضمن طول ال weir

Area of the gate

198100 * 0.98