## Slide 2: AL – Mustansiriyah University Faculty of Engineering Electrical Engineering Department Topologies of DC - AC Conversion for Photovoltaic Systems
By
Mustafa A. Fadel

## Slide 3: Introduction
Renewable energy is generally defined as the energy that is collected from naturally resources, such as sunlight, wind, rain, tides, waves, and geothermal heat.
The solar energy dominates among them:
  Reliability and availability.
  Pollution free, no environmental problems.
  Noiseless performance.
  Absence of fuel.

## Slide 4: Introduction
Photovoltaic panel is a device use light energy from the sun to generate electricity through photovoltaic effect.
Cell
Panel
Array

## Slide 5: Introduction
Obstacles of PV system
To limit these obstacles
Operating with MPPT technique
non-linear power source
MPP operates at any conditions
9
8
7
6
5
4
3
2
1
0
0
10
20
30
40
Voltage (V)
Current (A)
Voltage (V)
Power (W)
270
240
210
180
150
120
90
60
30
0
0
10
20
30
40
low energy conversion efficiency

## Slide 6: Maximum Power Point Tracker
The MPPT is a technique used for extract the maximum power from the PV panel due to the sunlight radiation.
The MPPT doesn't mean that the PV panel is moving!
There are many algorithms for MPPT:
  Perturb and Observe method.
  Incremental conductance.
  Direct calculation method.
  Voltage control maximum point tracker.

## Slide 7: Maximum Power Point Tracker
Compute: P (k) =V (k)*I (k)
No
V (k) > V (k-1)?
Yes
V (k) >V (k-1)?
Yes
Increase
Panel Voltage
No
Decrease Panel Voltage
No
Increase
Panel Voltage
Yes
V (k-1) =V (k)
P (k-1) =P (k)
Start
Measure: V (k), I (k)
Yes
Decrease
Panel Voltage
P (k) =P (k-1)?
No
P (k) > P (k-1)?
Perturbation and Observation
(P&O) Method

## Slide 8
Transporting

## Slide 9
Remote locations

## Slide 10
Power Generation

## Slide 11
Power Generation

## Slide 12
Power Generation

## Slide 13
Power Generation

## Slide 14: PV system topologies
PV system topologies
Central architecture
String architecture
Microinverter architecture

## Slide 15: PV system topologies
Central architecture
Advantages
Simple system.
Inexpensive system.
Best solution for high power.
Easy to monitoring.
Disadvantages
low system efficiency.
High transport and installation cost.
Needs cooling chamber.
Suffers from single point failure.
Difficult to maintenance.

## Slide 16: PV system topologies
String architecture
Advantages
Lower installation cost.
No needs for cooling chamber.
Easier to maintenance.
Less effected by single point failure.
Disadvantages
low system efficiency.
High cost system.
Space required.
Needs sophisticated monitoring.

## Slide 17: PV system topologies
Microinverter architecture
Advantages
High efficiency.
High design flexibility.
Easy to maintenance.
Avoids single point failure.
Small size and easy to install.
Avoids shading and clouding problems.
Disadvantages
High number of inverters.
High cost system.

## Slide 18: System Modeling
Flyback microinverter modeling
Vin =31 V
Cdc=10000 μF
Cf =3 μF
Lf =2 mH
S1 : APT5015BVR
S2, S3 : G40N150D
D1, D2 : RHRG75120
Vgrid =220 V
Np =17 Turn
NS1=100 Turn
NS2=100 Turn

## Slide 19: Microinverter Hardware Design
MPPT Control Circuit
Current Sensor
EMI Filter
PIC Microcontroller
Voltage Sensor
Control Circuit
Power Circuit
HF Transformer
LC Filter
S1
Cdc
S2
S3
G1
G2
G3
Lf
Cf
D2
D1

## Slide 20: Measuring Devices
Ambient temperature= 22
Environment Measuring Devices for Practical Results
Radiation intensity = 944 100Lux
1Lux = 0.0079W/m2

## Slide 21: Practical Results
Sawtooth Signal
Rectified Signal
S1 Gate-Source Signal
S2,S3 Gate-Source Signals
Primary Current
Drain-Source Voltage

## Slide 22: Practical Results
S=357 W/m2
T=25̊ C
Pin=69 W
Io_rms=0.294 A
P.F= 0.961
S=257 W/m2
T=25̊ C
Pin=49 W
Io_rms=0.21 A
P.F= 0.93
S=109W/m2
T=25̊ C
Pin=16.5 W
Io_rms=0.105 A
P.F= 0.579

## Slide 23: Thank you