Introduction to the Microscope

What is microscope?

It is an instrument which deals with organisms too small they cannot be seen distinctly with the unaided eye .

The human eye can resolve  objects of the order of 0.1 mm, while the light microscope  can resolve objects on the order of 0.2 μm (200 nm) . The transmission electron microscope  can resolve objects on the order of 0.1nm (100 A ˚ units).

For example, their typical linear dimensions are:

Animal cell (20–30 μm), a red blood cell (7.6 μm), a mitochondrion (2–5 μm), a nucleus (10 μm), microvilli (1μm), a cell membrane (10 nm), a microfilament (8–10 nm), a bacterium (0.5–5 μm) and a virus (10–100 nm)

Microscope History

The first vision called a reading stone. It was a glass sphere that magnified when laid on top of reading materials. Two Dutch eye glass makers, Zaccharias Janssen and son Hans Janssen experimented with multiple lenses placed in a tube and viewed objects in front of the tube appeared greatly enlarged, creating both the forerunner of the compound microscope and the telescope.

Lenses combining two types of glass reduced the "chromatic effect" the disturbing halos resulting from differences in refraction of light by using weak lenses used together at certain distances

Microscope Types

1. Compound Microscope

It is a light illuminated. The image in two dimensional. You can view individual cells, even living ones. It has high magnification. However, it has a low resolution.

2. Dissecting Microscope

It is light illuminated. The image that appears is three dimensional. It is used for dissection to get a better look at the larger specimen. You cannot see individual cells because it has a low magnification. (also called stereo microscope).

3. Scanning Electron Microscope (SEM):

SEM use electron illumination. The image is seen in 3-D. It has high magnification and high resolution. The specimen is coated in gold and the electrons bounce off to give you and exterior view of the specimen. The pictures are in black and white.

4. Transmission Electron Microscope (TEM):

TEM is electron illuminated. This gives a 2-D view. Thin slices of specimen are obtained. The electron beams pass through this. It has high magnification and high resolution.

The Light Microscope

In order to know how the microscope works we must first have a basic understanding about how lenses bend and focus light to form images.

- When light energy passes from one medium to another (i.e. AIR and GLASS) the light rays are bent at the point of interface. This process is called refraction.

- The measure of how greatly a substance slows the velocity of light is called the refractive index

- The direction and magnitude of bending is determined by the refractive indexes of the two media forming the interface.

- As parallel rays of light encounter a convex lens, they are slowed and bent towards the normal path.

- The point at which these rays converge is called the focal point.

- The distance between the center of the lens and the focal point is called the focal length.

- The strength of a lens is directly related to its focal length. A lens with a short focal length has a greater capacity for magnification than a lens with a longer focal length.

Anatomy of a compound Microscope

1. lamp (light source)

2. Substage Condenser: Used to vary the intensity of light.

3. Diaphram: Modulates the amount of light that passes through the slide.

4. Stage and microscope slide with specimen

5. Objective lenses (usually 10X, 40X, and 100X) on revolving nosepiece

6. Body tube

7. Ocular lens (usually 10X)

Types of the Light Microscope

There are a variety of light microscopes mostly employed in Microbiology:

- Bright-field

- Dark-field

- Phase-contrast

- Fluorescence

1-The Bright-field Microscope

Called the ordinary microscope because it forms a dark image against a brighter background.

Three factors determine the quality of an optical image:

a. Magnification

b. Resolution

c. Contrast

Magnification

• It is the apparent increase in size affected by a convex lens.

• A compound microscope uses two sets of lenses, with differing focal lengths, to facilitate magnification.

• Total magnification is calculated by multiplying the objective and eyepiece magnification together.

Magnification (total) = magnification (obj. lens) x magnification (ocu. lens)

Example: Mag (obj) = 40X and Mag (ocular) = 10X

Then Mag (total) = (40X) (10X) = 400X.

Resolution

It is the ability to observe two nearby objects as distinct objects

The resolution increased by:

1- using immersion oil that leads to reduce the refraction of light rays(through the air in the space between the specimen and the objective lens.) and increasing the amount of light that enters the objective lens . Only the highest power (100X) objective on the microscope is designed for use with immersion oil.

2- decreasing the wavelength of light that is used to illuminate the specimen (use blue light instead of white light).

Contrast

Contrast is the ability to detect different regions of the specimen on the basis of intensity or color.

Microbes are composed of water, nucleic acids, proteins, and lipids. Most appear colorless against a colorless background when observed using bright field microscopy. Therefore in order to see them, we must devise a way to increase the contrast by:

1- Direct staining of the microorganisms

2- Indirect (negative) staining of the background.

In order to stain a specimen, it must first be fixed to the slide and chemically altered. This results in the death of a specimen.

2- Dark-field microscopy is one such technique that is often used to observe living, unstained cells and organisms.

In the dark field microscopes only light that has been reflected/refracted by the specimen passes through the objective and forms the image. This results in a specimen that is brilliantly illuminated on a dark field, The field surrounding the specimen appears black.

3- Phase-contrast microscopes convert slight differences in refractive index and density into variations in light intensity.

4- Fluorescence microscopy. Specimens are treated with dye molecules called fluorochromes which brightly fluoresce when exposed to light of a specific wavelength.

- Four examples of transilumination techniques used to generate contrast in a sample of tissue paper. 1.559 μm/pixel.

Bright field illumination, sample contrast comes from absorbance of light in the sample.

Cross-polarized lightillumination, sample contrast comes from rotation of polarized light through the sample.

Dark field illumination, sample contrast comes from light scattered by the sample.

Phase contrastillumination, sample contrast comes frominterference of different path lengths of light through the sample.

Using the Microscope

1- using  the lowest power objective lens first and while looking from the side, put the lens down as close to the specimen as possible without touching it and focus upward only until the image is sharp.

2-click in the next power lens and do minor adjustments with the focus knob.

3- When using the high power, rotate to 40x objective. Refocus very carefully so that the specimen is focused as sharply as possible. Then place a small drop of oil on the slide in the center of the lighted area and examine the spacemen.

Clean up: When you have finished for the day, wipe the 100x oil immersion objective carefully with lens paper to remove all oil.

Microscope Care

• Always carry with 2 hands

• Never touch the lenses with your fingers.

• Only use lens paper for cleaning

• When you are finished, rotate the nosepiece to low power objective and roll the stage down to lowest level