## Slide 1: Applications of Microscopy in Biological Sciences

## Slide 2: Light microscopy
Specimen identification and quality
Cell counting
Classification of bacteria
Microscopic analysis of body fluids
Fecal analysis of domesticated animals
Histopathology
Cytopathology
Cellular membranes and intracellular structures
Live cell imaging
Protein dynamics and localization

## Slide 3: Application of Scanning Electron Microscope
Compositional analysis
Energy dispersive X-ray spectroscopy (EDS/EDX/EDXS)

## Slide 4: Applications of Transmission Electron Microscopy
Bright-field and dark-field microscopic imaging
Electron diffraction
Energy dispersive X-ray spectroscopy (EDS/EDX/EDXS)
Nanotomography

## Slide 5: Applications Atomic force microscopy (AFM)
Imaging of dry samples
Cell biology
Nucleic acid research
Biomolecular interaction
Protein unfolding
Nanofabrication
Detection of defects