## Slide 1: Lab Concentration of Solution:-
Many of solution properties depending on numbers of molecules, atoms or Ions that presents in solutions. So it is very important to understand the concentrations used in Physiology.

## Slide 2: Percentage solution
Percentage Solutions :- Easer and most common style used in concentration depending on percentage of part to hundred , known as percentage .
Percentage:- number of grams of solute dissolved in 100 ml of solution.
Gm of solute
Percentage = --------------------- * 100ml
Volume of solution

## Slide 3: Percentage solution
Ex } A solution concentrate 12 % of glucose that’s to say it contain 12 gm of (solute) in 100 ml of D.W. (solution).
Or 120 gm in 1000 ml.
Ex } 2 gm of Nacl dissolved in 25 ml of D.W. calculate the percentage of this solution .

## Slide 4: Percentage solution
Gm of solute
Percentage =-------------------------- * 100ml
Volum of solution
2 gm
= ------------------ * 100 = 8 %
25 ml

## Slide 5: Percentage solution
● In living organism most concentrations are much less than grams , so it is easier to estimate these concentrations in milligrams (mg %). Blood glucose is about (90 mg %) that means each 100 ml of blood contain (90 mg) glucose (0.09 %).

## Slide 6: Molar solution
Molar solution (M) :- A solution that concentrate (1 M) is containing (1 mole) of solute dissolved in (1 L) of solution , and each 1 mole of solution contain
Avagadro Number {number of particles} which is equal to (6.024 * 1023).
So solutions with the same morality contain the same numbers of particles even if they differs in their molecular or atomic number.
Mole: - Measurement that Equivalent the Atomic or molecular weight of a solute in grams.

## Slide 7: Molar solution
Ex } prepare 1 M of glucose solution , note that M.W. of glucose is 180.
Weight 180 gm of glucose and dissolved in 1 L of D.W.
Or 18 gm dissolved in 100 ml of D.W.
Or 1.8 gm in 10 ml of D.W.
◙ Another way to Resolve this Ex. By using .
weight 1000ml
M = ------------- * --------------------
M.W. required volume
weight 1000ml
1 = -------------- * ---------------- = 180 gm
180 1000ml

## Slide 8: Molar solution
Ex} prepare 1 M of Nacl solution, not that M.W. of Nacl is 58.5 .
Weight 58.5 gm of Nacl and dissolved in 1 L of D.W.
Or 5.85 gm in 100 ml .
Or 0.585 gm in 10 ml.
◙ Another way to Resolve this Ex. By using .
weight 1000ml
M=------------- *--------------------
M.W. required volum