(7-5-2) PRACTICAL (EXPERIMENTAL ) COHERENCE PRODUCES

I. INTERFERENCE BY DIVISION OF WAVE FRONT:

1- YOUNG’S DOUBLE-SLIT EXPERIMENT

2- FRESNEL'S BIPRISM

3-  FRESNEL'S MIRROR

4- LLOYD’S MIRROR

II. INTERFERENCE BY DVSION OF AMPLITUDE

1-MICHELSON INTERFEROMETER

2-TWEEMAN&GREEN INTERFERMETER

3-JAMIN INTERFEROMETER

4-MACH-ZEHNDER INTERFEROMETER

5-RAYLEGH'S REFREFOMETER

III.INTERFEROMETER  BY A MULTPLE REFLECTON

1-NEWTON'S RINGS

2-TWO PARALLEL THIN FILM

1-YOUNG’S DOUBLE-SLIT EXPERIMENT

Light is incident on a first barrier in which there is a slit S0 .

Figure(1): (a) Geometric construction for describing Young’s double-slit experiment (not to scale). (b) When we assume that r 1 is parallel to r 2, the path difference between the two rays is r 2  r 1  d sin . For this approximation to be valid, it is essential that L >> d .

The waves emerging from this slit arrive at a second barrier that contains two parallel slits S1 and S2 . These two slits serve as a pair of coherent light sources because waves emerging from them originate from the same wave front and therefore maintain a constant phase relationship. The light from S1 and S2 produces on a viewing screen a visible pattern of bright and dark parallel bands called fringes When the light from the two slits combines destructively at any location on the screen, a dark fringe results an interference pattern produced by two coherent vibrating
sources in a water tank.

It is useful to obtain expressions for the positions of the bright and dark
fringes measured vertically from O to P. In addition to our assumption that we assume that These can be valid assumptions because in practice
L is often of the order of 1 m, d a fraction of a millimeter, and  a fraction of a micrometer for visible light. Under these conditions,  is small

the positions of the bright fringes measured from O are given by the expression

(7)

we find that the dark fringes are located at(8)

Young’s double-slit experiment provides a method for measuring the wavelength of light Number m, which characterizes a particular bright fringe, is called the order of interference. Thus the fringes with m = 0, 1,2, ... are called the zero, first, second ,etc., order

INTENSITY DISTRIBUTION OF THE DOUBLE-SLIT
INTERFERENCE PATTERN

when two waves have a different phase of electric field can be given by:

7-13))

Figure (2):Construction for analyzing the double-slit interference pattern. A bright fringe, or intensity maximum, is observed at O.   we can obtain the magnitude of the resultant electric field at point P :

(9)    the intensity of a wave is proportional to the square of the resultant electric field magnitude at that point

Therefore express the light intensity at point P as

(10)

Most light-detecting instruments measure time-averaged light intensity, and the time-averaged value of sin2(w t +Φ/2) over one cycle is Therefore, we can write the average light intensity at point P as

(11)

Figure( 3  ): Light intensity versus d sin  for a double-slit interference pattern when the screen is far from the slits (L >> d)

FRESNEL'S BIPRISM

Soon after the double-slit experiment was performed by Young, the objection was raised that the bright fringes he observed were probably due to some complicated modification of the light by the edges of the slits and not to true interference. Thus the wave theory of light was still questioned. Not many years passed, however, before Fresnel brought forward several new experiments in which the interference of two beams of light was proved in a manner not open to the above objection. One of these, the Fresnel biprism experiment, will be described in some detail.

5)

4))(

A schematic diagram of the biprism experiment is shown in Fig. 131. The thin double prism P refracts the light from the slit sources Sinto two overlapping beams ae and be. If screens M and N are placed as shown in the figure, interference fringes are observed only in the region be. When the screen ae is replaced by a photographic plate, a picture like the upper one in Fig. 13J is obtained. The closely spaced fringes in the center of the photograph are due to interference, while the wide fringes at the edge of the pattern are due to diffraction.

4

5

the light path, the two beams will overlap over the whole region ae. The lower photograph in Fig. 13J shows for this case the equally spaced interference fringes superimposed on the diffraction pattern of a wide aperture. With such an experiment Fresnel was able to produce interference without relying upon diffraction to bring the interfering beams together.

Just as in Young's double-slit experiment, the wavelength of light can be determined from measurements of the interference fringes produced by the biprism. Calling Band C the distances of the source and screen, respectively, ~x the distance between the successive fringes on the screen, the wavelength of the light is given from Eq. as:

(12)

Thus the virtual images S1 and S2 act like the two slit sources in Young's experiment.

In order to find d, the linear separation of the virtual sources, one can measure their angular separation (Ө) on a spectrometer and assume, to sufficient accuracy, that d = BӨ. If the parallel light from the collimator covers both halves of the biprism, two images of the slit are produced and the angle (Ө) between these is easily measured with the telescope. An even simpler measurement of this angle can be made by holding the prism close to one eye and viewing a round frosted light bulb. At a certain distance from the light the two images can be brought to the point where their inner edges just touch. The diameter of the bulb divided by the distance from the bulb to the prism then gives (Ө) directly.

Fresnel biprisms are easily made from a small piece of glass, such as half a microscope slide, by beveling about t to t in. on one side. This requires very little grinding with ordinary abrasive materials and polishing with rouge, since the angle required is only about 1o

5

3) FRESNEL'S MIRROR

Two beams can be brought together in other ways to produce

interference. In the arrangement known as FRESNEL'S MIRROR , light from a slit is reflected in two plane mirrors slightly inclined to each other. The mirrors produce two virtual images of the slit, as shown in Fig. 6. They act in every respect like the images formed by the biprism, and interference fringes are observed in the region be, where the reflected beams overlap. The symbols in this diagram correspond to those in Fig. 5, and Eq. (12) is again applicable. It will be noted that the angle 2(Ө subtended at the point of intersection M by the two sources is twice the angle between the mirrors.

The Fresnel double-mirror experiment is usually performed on an optical bench, with the light reflected from the mirrors at nearly grazing angles. Two pieces of ordinary plate glass about 2 in. square make a very good double mirror. One plate should have an adjusting screw for changing the angle () and the other a screw for making the edges of the two mirrors parallel.

An even simpler device, shown in Fig. 13L, produces interference between the light reflected in one long mirror and the light coming directly from the source without reflection. In this arrangement, known as Lloyd's mirror, the quantitative relations are similar to those in the foregoing cases, with the slit and its virtual image constituting

the double source. An important feature of the Lloyd's-mirror experiment

lies in the fact that when the screen is placed in contact with the end of the mirror

(in the position MN, Fig. 13L), the edge 0 of the reflecting surface comes at the center of a dark fringe, instead of a bright one as might be expected. This means that one of the two beams has undergone a phase change of 1t. Since the direct beam could not change phase, this experimental observation is interpreted to mean that the reflected light has changed phase at reflection. Two photographs of the Lloyd's-mirror fringes taken in this way are reproduced in Fig. 13M, one taken with visible light and the other with X rays.

If the light from source Sl in Fig. 13L is allowed to enter the end of the glass

plate by. moving the latter up, and to be internally reflected from the upper glass surface, fringes will again be observed in the interval OP, with a dark fringe at 0.

This shows that there is again a phase change of 1t at reflection.

In this instance the light is incident at an angle greater than the critical angle for total reflection.

Lloyd's mirror is readily set up for demonstration purposes as follows. A carbon arc, followed by a colored glass filter and a narrow slit, serves as a source. A strip of ordinary plate glass 1 to 2 in. wide and 1 ft or more long makes an excellent mirror.

A magnifying glass focused on the far end of the mirror enables one to observe the fringes shown in Fig. 13M. Internal fringes can be observed by polishing the ends of

the mirror to allow the light to enter and leave the glass, and by roughening one of the glass faces with coarse emery.

Other ways exist* for dividing the wave front into two segments and subsequently recombining these at a small angle with each other. For example, one can cut a lens into two halves on a plane through the lens axis and separate the parts slightly, to form two closely adjacent real images of a slit. The images produced in this device, known as Billet's split lens, act like the two slits in Young's experiment. A single lens followed by a biplate (two plane-parallel plates at a slight angle) will accomplish the same result.

COHERENT SOURCES

It will be noticed that the various methods of demonstrating interference so far discussed have one important feature in common: the two interfering beams are always derived from the same source of light. We find by experiment that it is impossible to obtain interference fringes from two separate sources, such as two lamp filaments set side by side. This failure is caused by the fact that the light from anyone source is not an infinite train of waves. On the contrary, there are sudden changes in phase occurring in very short intervals of time (of the order of 10-8 s). This point has already been mentioned in Sees. ILl and 12.6. Thus, although interference fringes may exist on the screen for such a short interval, they will shift their position each time there is a phase change, with the result that no fringes at all will be seen. In

Young's experiment and in Fresnel's mirrors and biprism, the two sources Sl and S2 always have a point-to-point correspondence of phase, since they are both derived from the same source. If the phase of the light from a point in Sl suddenly shifts, that of the light from the corresponding point in S2 will shift simultaneously. The result is that the difference in phase between any pair of points in the two sources always remains constant, and so the interference fringes are stationary. It is a characteristic of any interference experiment with light that the sources must have this point-to-point phase relation, and sources that have this relation are called coherent sources.

While special arrangements are necessary for producing coherent sources of light, the same is not true of microwaves, which are radio waves of a few centimeters wavelength. These are produced by an oscillator which emits a continuous wave, the phase of which remains constant over a time long compared with the duration of an observation. Two independent microwave sources of the same frequency are therefore coherent and can be used to demonstrate interference. Because of the convenient magnitude of their wavelength, microwaves are used to illustrate many common optical interference and diffraction effects.*

If in Young's experiment the source slitS (Fig. 13C) is made too wide or the angle between the rays which leave it too large, the double slit no longer represents two coherent sources and the interference fringes disappear. These subjects will be discussed in more detail in Chap. 16.

DIVISION OF AMPLITUDE. c,

MICHELSON INTERFEROMETER

Interference apparatus may be conveniently divided into two main classes, those based on division of wave front and those based on division of amplitude. The previous examples all belong to the former class, in which the wave front is divided laterally into segments by mirrors or diaphragms. It is also possible to divide a wave by partial reflection, the two resulting wave fronts maintaining the original width but having reduced amplitudes. The Michelson interferometer is an important example of this second class. Here the two beams obtained by amplitude division are sent in quite different directions against plane mirrors, whence they are brought together again to form interference fringes. The arrangement is shown schematically in Fig. 13N.

The main optical parts consist of two highly polished plane mirrors M1 and M2 and two plane-parallel plates of glass Gland G2• Sometimes the rear side of the plate

G1 is lightly silvered (shown by the heavy line'in the figure) so that the light coming from the source S is divided into (1) a reflected and (2) a transmitted beam of equal intensity. The light reflected normally from mirror M1 passes through G1 a third time and reaches the eye as shown. The light reflected from the mirror M2 passes back through G2 for the second time, is reflected from the surface of G1 and into the

eye.

The purpose of the plate G2, called the compensating plate, is to render the path

in glass of the two rays equal. This is not essential for producing fringes in monochromatic light, but it is indispensable when white light is used (Sec. 13.11). The mirror M1 is mounted on a carriage C and can be moved along the well-machined ways or tracks T. This slow and accurately controlled motion is accomplished by means of the screw V, which is calibrated to show the exact distance the mirror has been moved. To obtain fringes, the mirrors M 1 and M 2 are made exactly perpendicular to each other by means of screws shown on mirror M2•

Even when the above adjustments have been made, fringes will not be seen unless two important requirements are fulfilled. First, the light must originate from an extended source. A point source or a slit source, as used in the methods previously described, will not produce the desired system of fringes in this case. The reason for this will appear when we consider the origin of the fringes. Second, the light must in general be monochromatic, or nearly so. Especially is this true if the distances of M1 and M2 from G1 are appreciably different.

An extended source suitable for use with a Michelson interferometer may be obtained in any one of several ways. A sodium flame or a mercury are, if large enough, may be used without the screen L shown in Fig. 13N. If the source is small, a ground-glass screen or a lens at L will extend the field of view. Looking at the mirror M 1 through the plate Gl' one then sees the whole mirror filled with light.

In order to obtain the fringes, the next step is to measure the distances of M1 and M 2 to the back surface of G1 roughly with a millimeter scale and to move M 1 until they are the same to within a few millimeters. The mirror M2 is now adjusted to be perpendicular to M1 by observing the images of a common pin, or any sharp point, placed between the source and Gl' Two pairs of images will be seen, one coming from reflection at the front surface of G1 and the other from reflection at its back surface. When the tilting screws on M2 are turned until one pair of images falls exactly on the other, the interference fringes should appear. When they first appear, the fringes will not be clear unless the eye is focused on or near the back mirror Ml' so the observer should look constantly at this mirror while searching for the fringes.

When they have been found, the adjusting screws should be turned in such a way as to continually increase the width of the fringes, and finally a set of concentric circular fringes will be obtained. M2 is then exactly perpendicular to M1 if the latter is at an angle of 45° with Gl'

CIRCULAR FRINGES

These are produced with monochromatic light when the mirrors are in exact adjustment and are the ones used in most kinds of measurement with the interferometer.

Their origin can be understood by reference to the diagram of Fig. 130. Here the real mirror M2 has been replaced by its virtual image M~ formed by reflection in G1•

M~ is then parallel to M1• Owing to the several reflections in the real interferometer, we may now think of the extended source as being at L, behind the observer, and as forming two virtual images L1 and L2 in M1 and M;. These virtual sources are coherent in that the phases of corresponding points in the two are exactly the same at all instants. If d is the separation M1M;, the virtual sources will be separated by 2d.

When d is exactly an integral number of half wavelengths, i.e., the path difference

2d equal to an integral number of whole wavelengths, all rays of light reflected normal to the mirrors will be in phase. Rays of light reflected at an angle, however, will in general not be in phase. The path difference between the two rays coming to the eye from corresponding points P' and P" is 2d cos e, as shown in the figure. The angle () is necessarily the same for the two rays when M1 is parallel to M~ so that the rays are parallel. Hence when the eye is focused to receive parallel rays (a small telescope is more satisfactory here, especially for large values of d) the rays will reinforce each other to produce maxima for those angles e satisfying the relation

Since for a given m, A.,and d the angle e is constant, the maxima will lie in the form of circles about the foot of the perpendicular from the eye to the mirrors. By expanding the cosine, it can be shown from Eq. (l3g) that the radii of the rings are proportional to the square roots of integers, as in the case of Newton's rings (Sec. 14.5). The intensity distribution across the rings follows Eq. (13b), in which the phase difference is given by

Fringes of this kind, where parallel beams are brought to interference with a phase difference determined by the angle of inclination e, are often referred to as fringes of equal inclination. In contrast to the type to be described in the next section, this type may remain visible over very large path differences. The eventual limitation on the path difference will be discussed in Sec. 13.12.

The upper part of Fig. 13P shows how the circular fringes look under different conditions. Starting with M1 a few centimeters beyond M2, the fringe system will have the general appearance shown in (a) with the rings very closely spaced. If M1 is now moved slowly toward M2 so that d is decreased, Eq. (13g) shows that a given ring, characterized by a given value of the order m, must decrease its radius because

the product 2d cos e must remain constant. The rings therefore shrink and vanish at

the center, a ring disappearing each time 2d decreases by A, or d by A.j2. This follows from the fact that at the center cos () = 1, so that Eq. (13g) becomes

To change m by unity, d must change by A.12. Now as M1 approaches M2 the rings become more widely spaced, as indicated in Fig. 13P(b), until finally we reach a critical position where the central fringe has spread out to cover the whole field

of view, as shown in (c). This happens when M1 and M;' are exactly coincident, for it is clear that under these conditions the path difference is zero for all angles of incidence.

If the mirror is moved still farther, it effectively passes through M;', and new widely spaced fringes appear, growing out from the center. These will gradually become more closely spaced as the path difference incre